## Case details
Air Quality Memo: GLA Consultation
Case details
Stage 1 |  | Stage 3
Date of first review: | 2025-12-23 | Date of first review: |  | 2026-05-20
Case Name: | Stoney Wood Quarter | Case Name: |  | Stoney Wood Quarter
Case Number: | 2025/1042 | Case Number: |  | 2026/0196
Case Officer: | Matthew Woodhead | Case Officer: |  | Matthew Woodhead
London Borough: | LB Barnet | London Borough: | LB Barking & Dagenham | LB Barnet
Application Type (Outline/Hybrid/Detailed): | Detailed | Application Type (Outline/Hybrid/Detailed): | Detailed | Detailed
Applicant: | Stoney Wood Property Developments Ltd | Applicant: |  | Stoney Wood Property Developments Ltd
AQ Consultant: | Air Quality Experts Ltd | AQ Consultant: |  | London Placemaking
Document Title: | Air Quality Assessment & Environmental Statement | Document Title: |  | Air Quality Positive Statement
Document Date: | 2025-11-01 | Document Date: |  | 2026-03-01
Development proposals
Use
Redevelopment of the site to provide new buildings up to six stories in height, comprising up to 463 residential units (Use Class C3), with ancillary flexible amenity and commercial facilities (Use Class E), along with hard and soft landscaping, new public squares and playspace and associated residential amenity, car and cycle parking, waste and recycling storage, plant and other infrastructure. (This is an EIA application and is accompanied by an Environmental Statement).
Floorspace/Number of units

## Pre-App Advice (hidden)
Comment
[Where possible comment on which advice is relevant and if any have already been addressed in pre app report. If there are any additional comments or any non standard advice points added to the list, summarise here. ]
| Advice | London Plan Policy | Useful Links
1 | The proposed development must not lead to any significant adverse impacts on local air quality at existing receptors. Should significant impacts be identified through dispersion modelling, mitigation measures must be proposed. Should these impacts be related to additional traffic emissions, the applicant should be prepared to consider a reduction in car parking provision, along with design changes that will limit uncontrolled car parking. Other mitigation measures will also be appropriate if they can be shown to lead to a demonstrable reduction in private vehicle use. | Policy SI 1 (B)
2 | The proposed development is located in an Air Quality Focus Area so the suitability of the site for the proposed use, in terms of the air quality exposure of the future occupants of the development, should be carefully assessed. This assessment should consider all relevant sources of pollution (e.g. local road network, nearby railway). The use of design measures to minimise exposure of sensitive users should also be demonstrated. | Policy SI 1 (B) (1c) and (2d)
3 | The air quality assessment should take account of local monitoring data, including that carried out by the LB Barnet, to establish a baseline. Any dispersion model will need to be verified in line with TG(22) technical guidance. Should suitable monitoring data (including for verification) not be available, the applicant should consider undertaking a baseline NO2 monitoring survey for at least 6 months. |  | https://laqm.defra.gov.uk/wp-content/uploads/2022/08/LAQM-TG22-August-22-v1.0.pdf
4 | Consideration should be given to the Mayor of London PM2.5 target of 10 μg/m3. While this target is not statutory, it is a stated Mayoral ambition. Developers are encouraged to deliver additional mitigations beyond what is already required through [AQA/ AQN/ AQP assessment(s)/ statement] to tackle emissions of PM2.5 from the development. These measures could include those further reducing road transport emissions including further reductions of parking spaces and reducing emissions from buildings including from heating and cooking through abatement or cleaner fuel sources (eg. electric cookers). |  | https://www.iaqm.co.uk/text/guidance/air-quality-planning-guidance.pdf
5 | The proposed development must be air quality neutral and meet both the building and transport emissions benchmarks. Contributions to mitigation measures, above minimum policy compliance (e.g. EV charging provision), will be secured should the air quality neutral benchmarks not be met. This will be required even if the air quality impact assessment does not predict significant adverse impacts at sensitive receptors. The Air Quality Neutral LPG, published in 2023, should be used to guide the assessment. | Policy SI1 (B) and (E) | https://www.london.gov.uk/programmes-strategies/planning/implementing-london-plan/london-plan-guidance/air-quality-neutral-aqn-guidance
6 | A construction dust risk assessment will be required, with reference to IAQM 'Guidance on the assessment of dust from demolition and construction, 2024' the GLA’s ‘Control of Dust and Emissions during Construction and Demolition’ Supplementary Planning Guidance (SPG, 2014). |  | https://iaqm.co.uk/wp-content/uploads/2013/02/Construction-Dust-Guidance-Jan-2024.pdf
https://www.london.gov.uk/programmes-strategies/planning/implementing-london-plan/london-plan-guidance-and-spgs/control-dust-and
7 | An appropriate construction traffic assessment will be required; this may require dispersion modelling if the EPUK/IAQM screening thresholds are exceeded. |  | https://www.iaqm.co.uk/text/guidance/air-quality-planning-guidance.pdf
8 | If the proposed development is subject to an EIA, it will need to take account of Policy SI1 (C) of the London and submit an Air Quality Positive Statement. The applicant should refer to the Air Quality Positive London Plan Guidance (LPG) published in 2023. The Statement should identify how air quality has been considered at the earliest stages of the design and throughout the development: | Policy SI1 (C) | https://www.london.gov.uk/programmes-strategies/planning/implementing-london-plan/london-plan-guidance/air-quality-positive-aqp-guidance
Air quality opportunities and constraints and how these have been accounted for in the design;
Design of streets and buildings and how these will promote dispersion of air pollution;
Open space and private amenity space – design to avoid exposure to poor air quality
Green infrastructure – design and placement to avoid exposure to air pollution (see also GLA guidance ‘Using Green Infrastructure to Protect People from Air Pollution’);
Promotion of walking, cycling and active transport to avoid reliance on private vehicles, which will increase transport emissions. How has the design resulted in active travel or public transport becoming the default mode of transport?; and
Innovative measures – has the design gone beyond best practice to maximise benefits to local air quality?
9 | Highways, street, public realm and parking design should ensure that uncontrolled/informal parking does not undermine the parking ratio proposed, which will limit the impact of vehicle emissions. Evidence should be submitted to ensure this will be suitably enforced (e.g. CPZs, parking/highways management using s106, etc.). Reference should be made to the Healthy Streets approach in parking design.
10 | The development of a fossil fuel free site is supported, which can be achieved by connection to a district heat network or the use of fully electric on-site heating (such as from air-source heat pumps). Alternatives to diesel-fired emergency generators are also preferred.
11 | The locations of flues for any life-safety diesel generators will need to be considered to avoid impacts during testing and maintenance at both existing and introduced receptors. A detailed assessment of emissions may be required where optimal flue locations are not achievable (e.g. roof top of tallest part of the building).

## London Plan Compliance
Compliance Schedule - To be completed by the GLA Air Quality Officer
SI 1 - Improving Air Quality
| Policy | Policy Sub-Area | Required Data (In line with EAG) | Policy Compliance | GLA Comment Reference
| A: Development Plans, through relevant strategic, site-specific and area- based policies, should seek opportunities to identify and deliver further improvements to air quality and should not reduce air quality benefits that result from the Mayor’s or boroughs’ activities to improve air quality. |  |  | Potential Compliance-Pending Information | 4, 5, 6, 7, 8
| B: To tackle poor air quality, protect health and meet legal obligations the following criteria should be addressed: | 1. Development proposals should not: | a: lead to further deterioration of existing poor air quality | Compliant
|  |  | b: create any new areas that exceed air quality limits, or delay the date at which compliance will be achieved in areas that are currently in exceedance of legal limits | Potential Compliance-Pending Information | 4, 5, 6, 7, 8
|  |  | c: create unacceptable risk of high levels of exposure to poor air quality. | Potential Compliance-Pending Information | 4, 5, 6, 7, 8
|  | 2. In order to meet the requirements in Part 1, as a minimum: | a: development proposals must be at least Air Quality Neutral | Compliant
|  |  | b: development proposals should use design solutions to prevent or minimise increased exposure to existing air pollution and make provision to address local problems of air quality in preference to post-design or retro-fitted mitigation measures | Compliant
|  |  | c: major development proposals must be submitted with an Air Quality Assessment. Air quality assessments should show how the development will meet the requirements of B1 | Potential Compliance-Pending Information | 4, 5, 6, 8, 11
|  |  | d: development proposals in Air Quality Focus Areas or that are likely to be used by large numbers of people particularly vulnerable to poor air quality, such as children or older people should demonstrate that design measures have been used to minimise exposure. | Not Applicable
| C: Masterplans and development briefs for large-scale development proposals subject to an Environmental Impact Assessment should consider how local air quality can be improved across the area of the proposal as part of an air quality positive approach. To achieve this a statement should be submitted demonstrating: | 1. how proposals have considered ways to maximise benefits to local air quality, and |  | Compliant
|  | 2. what measures or design features will be put in place to reduce exposure to pollution, and how they will achieve this. |  | Compliant
| D: In order to reduce the impact on air quality during the construction and demolition phase development proposals must demonstrate how they plan to comply with the Non-Road Mobile Machinery Low Emission Zone and reduce emissions from the demolition and construction of buildings following best practice guidance. |  |  | Compliant
| E: Development proposals should ensure that where emissions need to be reduced to meet the requirements of Air Quality Neutral or to make the impact of development on local air quality acceptable, this is done on-site. Where it can be demonstrated that emissions cannot be further reduced by on-site measures, off-site measures to improve local air quality may be acceptable, provided that equivalent air quality benefits can be demonstrated within the area affected by the development. |  |  | Not Applicable

## AQ Comments+conditions
Detailed Comments - Applicant MUST provide detailed responses to the below items
Comment No. | GLA Stage I | Applicant's Stage I response | GLA Post Stage I response | Applicant's Post Stage I response
| Date: 23/12/25 | Date: | Date: | Date: 15.06.26
Documents to be secured
Air Quality Assessment & Environmental Statement (01/11/2025)
General compliance comments
1 | London Plan Policy SI1 states that development proposals should not lead to deterioration of existing poor air quality; should not create any new areas that exceed air quality limits or delay compliance in areas that are in exceedance of legal limits; and should not create unacceptable risk of high levels of exposure to poor air quality. Development proposals must be at least Air Quality Neutral and large-scale development proposals should provide an air quality positive statement.
2 | The proposed development may lead to adverse impacts on local air quality and conditions for future residents and occupiers. The development is not considered to be compliant with London Plan Policy as no Air Quality Positive Statement has been included. |  | The development is now considered compliant with London Plan Policy as an Air Quality Positive Statement has been provided
3 | An Air Quality Assessment was provided with the application. The report was not considered of sufficient technical quality and an Air Quality Positive Statement was not included. The assessment included a construction dust assessment, detailed modelling of operational traffic emissions and an air quality neutral assessment. |  | An Air Quality Positive Statement has now been provided.
4 | Site suitability was not assessed with detailed modelling, instead relying on a brief review of monitoring data. This is considered limited given that detailed modelling was undertaken for the operational traffic assessment. Given the location of the development is less than 100 m from the M1 then re-modelling must be undertaken to consider the suitability of the site for residential development by adding on-site receptors. This model must include the M1 |  | Awaiting applicant response | Site suitability was assessed both using Barnet's own published data and also through detailed dispersion modelling. Traffic data for the M1 was downloaded from the Department for Transport (DfT) for 2022 (DfT Count Point: 6001 = AADT 59337 light vehicles and 3723 heavy vehicles). This baseline data for the M1 was included in all modelling scenarios. Receptors R1 and R2 are located closer to the M1 than any future receptors within the proposed development boundary, hence confirming site suitability for the proposed development. Also, all receptors were assessed at 1.5m from ground level (considered worst-case for exposure). Pollution concentrations decrease significantly and very rapidly with height, so where a significant impact is not identified at ground level, it is very unlikely to occur on any higher elevations. Therefore, it is considered that the assessment provided is adequate for the scale and location of the proposed development and sufficient to confirm site suitability and safeguard the health and wellbeing of any future occupiers, without the need for further mitigation.
5 | A base year of 2022 was used in the detailed modelling as the London Borough of Barnet had not published any more recent monitoring data at the time of assessment and the applicant was advised to not use the 2023 data that they were supplied with prior to its publication. This is considered acceptable however as the model needs to be re run, more recent monitoring data should be used to be more representative. |  | Awaiting applicant response | The baseline data used was correct at the time of writing and as advised by the relavant officers at Barnet. Therefore it is not considered necessary for the models to be re-run, using updated data currently available for 2023 and 2024. Also, the monitoring data now published for 2023 and 2024 for all the relevant locations used, is lower than the 2022 data used in the report, providing for a worst-case assessment. Any re-modelling using 2023 or 2024 data would result in lower pollution concentrations than those presented in the technical report. Any remodelling would only reduce the pollution concentrations for baseline, the modelling for the completion year 2029 'do'nothing' and 'do something' would remain unaltered. Therefore, the baseline data and all the modelling was correct at the time of completion of the report and represents represents a worst-case approach, so no further updating work should be considered necessary.
6 | Verification was carried out using only one monitoring site. It is not recommended that a verification factor is derived from only one site as the monitoring site may not be representative of other locations modelled, and the adjustment factor derived will be heavily dependent on the source to receptor relationship as represented by the meteorological data file used in the dispersion model. However, the reasoning for excluding PBN21 is accepted. Additionally, as the one site was within 10% of the monitored concentration, no verification factor was applied to the monitoring results, however this was not clear in all parts of the report. |  | Awaiting applicant response | There are very limited monitoring sites in the vicinity of the proposed development site. Model verification can only be undertaken where suitable local sites are identified (suitable for verification purposed in accordance with TG22), and traffic data is available for. PBN13 is located very close to the site, hence considered most representative of the road network being covered in the model. We attempted to also verify against a second location (PBN21) but only 25% of data was collected by Barnet at this location, so unfortunatly it had to be dismissed in accordance with current guidance. Other monitoring locations were too far from the site (not considered representative) and outside the road network covered by the transport assessment, so suitable traffic data was not available for undertaking verification against other locations. Despite this, the verification was very accurate (within 10% magin of error which is considered ideal within TG22), demonstrating the accuracy of our models and methodology, meaning that no adjustments or factors were considered necessary.
7 | A Dust Risk Assessment (DRA) was undertaken. The risk level for the site was determined to be Medium to Low. Appropriate mitigation was included. Only construction, earthworks and trackout were included within the assessment as the development is a greenfield site and therefore no demolition is required.
8 | In the DRA, no evidence is provided for the assigning of area sensitivity, for example stating how many sensitive receptors are within each distance band, the impact on ecological receptors should have been scoped out of the assessment if there are no ecologically sensitive sites within the study area. Additionally, the overall risk for each stage has been assigned incorrectly for some activities in Table A.7. |  | Awaiting applicant response | The area sensitivity was considered high for dust soiling, high for human health and low for ecological receptors. The assessment of ecological effects was not scoped out due to the presence of Stoney Wood Lake and SINC immediatly to the north of the site. The number of sensitive receptors used was '>100 receptors within <100 m of the site boundary'. Based on this, the overall sensitivity of the surrounding area was considered medium for dust soiling, low for human health due to the low PM10 background levels, and a low for ecology because a SINC is not considered a 'high sensitivity' site. Based on this criteria, the overal dust risk was assessed as low to medium in Table A.7. The choice of mitigation requirements was allocated as medium throughout, apart from table A.8 - Earthworks which was allocated low.
9 | An Air Quality Neutral Assessment was undertaken. It has been determined that the proposed development is air quality neutral. The proposed development is fully electric with ASHP and PV, therefore is neutral in terms of building emissions. The proposed trip rate does not exceed the TEB, therefore the proposed development is neutral in terms of transport emissions.
10 | An Air Quality Positive Assessment was not included with the report, this is required for an EIA. Without an AQP statement, the development does not comply with the London Plan. |  | An Air Quality Positive Statement has been provided. This AQPS was completed in line with best practice and demonstrates that air quality considerations have been integrated throughout the design process through incorporating green infrastructure and supporting active travel, in line with GLA guidance for major developments.
11 | It is not clear if the development includes backup life-safety generators. The locations of flues for any life-safety diesel generators will need to be considered to avoid impacts during testing and maintenance at both existing and introduced receptors. A detailed assessment of emissions may be required where optimal flue locations are not achievable (e.g. roof top of tallest part of the building). |  | Awaiting applicant response | The Proposed Development does not include any backup life-safety diesel generators. The energy strategy is fully electric (air source heat pumps and PV) with no on-site combustion equipment. An Uninterruptible Power Supply (UPS) is proposed in lieu of a diesel generator.
Recommended Conditions
1 | All Non-Road Mobile Machinery (NRMM) of net power of 37kW and up to and including 560kW used during the course of the demolition, site preparation and construction phases shall comply with the emission standards set out in chapter 7 of the GLA’s supplementary planning guidance “Control of Dust and Emissions During Construction and Demolition” dated July 2014 (SPG), or subsequent guidance. Unless it complies with the standards set out in the SPG, no NRMM shall be on site, at any time, whether in use or not, without the prior written consent of the local planning authority. The developer shall keep an up to date list of all NRMM used during the demolition, site preparation and construction phases of the development on the online register.
2 | Measures to control emissions during the construction phase relevant to a Medium risk site should be written into an Air Quality and Dust Management Plan (AQDMP), or form part of a Construction Environmental Management Plan, in line with the requirements of the Control of Dust and Emissions during Construction and Demolition SPG. The AQDMP should be approved by the LPA and the measures and monitoring protocols implemented throughout the construction phase (London Plan Policy SI 1 (D)).
0
0
0
0
0
Received; SAP 10 proposed and nothing further required
Received; SAP 2012 proposed and nothing further required
Received; SAP 10 proposed but items still outstanding
Received; SAP 2012 proposed but items still outstanding
Not yet received - applicant to submit and provide reference --->
N/A

## Checklist-Notes (hidden)
Project Information for Conditions |  | Report Checklist & Notes
Low Emission Zone: | Greater London | Application Details |  | Y/N | Comment
DRA mitigation level | Medium | Is the project EIA? | ALL | Yes
Construction info: | construction | Does the project include modelling of point source emissions? | ALL
In AQMA? | Yes | Does the project include modelling of road traffic emissions? | ALL | Yes | Scoped in due to AADT
In AQFA? | Yes | Does the proposed layout match the application pack? | ALL
Parking included? | No | Is an overview of the sensitivity of the area to air quality (eg AQMAs, AQFAs) included? | ALL |  | site suitability section lacking - only states that monitored concentrations are below AQO. Carried out modelling so should have added additional receptors for development | no mention of AQFA
Building emissions present? | No | Has all relevant policy and legislation been referenced? | ALL | Yes
Buildings emissions abatement required? | No | Is there a description of the relevant air quality standards and objectives | ALL | Yes
Does the development proposals require specific local measures to reduce trip generation or trip length? | No | Are the correct Mayor of London PM2.5 guidelines referenced? | ALL | No
Backup/emergency generator? | No | Is the basis for determining significance set out? | ALL
Methodology
|  | Has the methodology been clearly set out? | ALL
Are the following adequate?
|  | Assumptions and limitations | ALL
|  | Local input data and emission sources | ALL
|  | Met data used, including how representative it is | ALL | Yes | London city airport
|  | Background concentrations used | ALL
|  | Choice of baseline year | ALL |  | Used 2022 as 2023 was available but not yet published
|  | Basis for Nox:NO2 calculations | ALL
|  | Emission factors used | TRAFFIC
|  | details of traffic flows used in the model | TRAFFIC | Yes | Used 2025 traffic survey data as baseline 2022
|  | description of committed developments / future baseline | TRAFFIC
|  | Is the model sufficiently detailed (slow downs, street canyons etc). | TRAFFIC
|  | Stack height, diameter, emission velocity, exit temp | POINT
|  | Is there carparking? (Enclosed) | TRAFFIC
|  | Does the carpark meet the criteria for assessment? | TRAFFIC
|  | Have they considered all sources? Industrial, rail, odour etc? | ALL
Model Verification
|  | Has model verification been undertaken? | ALL | No
|  | Has the lack of verification been adequately justified and accounted for? | VERIF | N/A
|  | Have suitable monitoring sites for verification purposes been identified? | VERIF |  | Only 1 site
|  | Has the verification procedure been carried out appropriately (including any fixes to the model)? | VERIF |  | No adjustments made in end as one site was within 10% of monitored concentration | numerous mentions thorughout text to "model has been verified and adjusted, therefore there can be reasonable confidence in the prediction of the baseline year concentrations"
Receptor Identification
|  | Have appropriate receptors been identified | ALL
|  | Has a map been provided | ALL
Description of baseline conditions
|  | A description of available monitoring data | ALL
|  | Background maps referenced, together with any adjustments of these mapped values to take account of local monitoring | ALL
Assessment of impacts
|  | Results of "with development" set out in report | ALL
|  | Descriptions of the impacts at individual receptors provided | ALL
Construction Phase impacts
|  | Has the need for a DRA been screened in? | ALL | Yes | no demolition as greenfield
|  | Has the correct guidance been followed (GLA SPG 2014, IAQM 2024)? | DRA | Yes
|  | Have the potential activities for the 4 stages (demolition, earthworks, construction and trackout) been described? | DRA | Yes | track out is an estimate
|  | Has the SCALE of each stage been correctly identified? | DRA
|  | Has the SENSITIVITY of the area for each stage been correctly identified? | DRA |  | Hard to tell as no discussion as to how many receptors etc, just a table showing the sensitivities of the area | This is partially stated below but if there are no eco sites then it can just be excluded rather than being given low sensitivity and then the risk assigned incorrectly
|  | Has the RISK for each stage been correctly identified? | DRA | No | Wrong for HH EW - some wrong in table a.7
|  | Has the appropriate level of mitigation been advised? | DRA | Yes
Air Quality Neutral
|  | Has the latest 2023 guidance been followed? | ALL | Yes
|  | Has the procedure been followed correctly? | ALL | Yes
|  | Is the development neutral for building emissions? | ALL | Yes | ASHP and PV - fully electric
|  | Is the development neutral for traffic emissions? | ALL | Yes | proposed trip rate < TEB
Air Quality Positive
|  | Has an appropriate AQP assessment been carried out? | EIA
|  | Do measures in matrix go beyond the design scope? | EIA
|  | Has evidence been provided to show that air quality has been embedded as a consideration in the design from the start? | EIA
Cumulative Impacts
|  | Have the cumulative impacts been appropriately assessed? | EIA
Mitigation measures
|  | NRMM acknowledged? | ALL
|  | Are any proposed mitigation measures genuinely additional to the “with development” scenario, as modelled? | ALL | No | no operational traffic mitigation measures due to low concentrations/changes
|  | Are proposed mitigation measures appropriate to the problem to be mitigated? | ALL
|  | Has the impact of mitigation measures been estimated, and are they sufficient to address the identified problem? | ALL
|  | Are offsetting payments proposed in lieu of mitigation? | ALL
|  | Will the mitigation measures need to be secured by condition/s106? | ALL
|  | Are design changes required to implement mitigation measures? | ALL
|  | Is the development (post stated mitigation) acceptable in air quality terms? | ALL
Summary
|  | Impacts during the construction phase of the development - summarised correctly? | ALL
|  | Impacts on existing receptors during operation summarised correctly? | ALL
|  | Impacts of existing sources on new receptors (exposure assessment) summarised correctly? | ALL
|  | Any exceedances of the air quality objectives arising as a result of the development, or any worsening of a current breach? | ALL
|  | Whether the development will compromise or render inoperative the measures within an Air Quality Action Plan, where the development affects an AQMA | ALL
|  | Any apparent conflicts with planning policy | ALL

## Glossary
Glossary:
Acronym | Description
AQA | Air Quality Assessment
AQFA | Air Quality Focus Area
AQMA | Air Quality Management Area
AQN | Air Quality Neutral
AQP | Air Quality Positive
DRA | Dust Risk Assessment
EPUK | Environmental Protection UK
IAQM | Institute of Air Quality Management
LAQM | Local Air Quality Management
LLAQM | London Local Air Quality Management
NRMM | Non Road Mobile Machinery
SAC | Special Areas of Conservation
SSSI | Site Special Scientific Interest

## Conditions text (hidden)
1 | On-site plant and machinery must comply with the London Non-Road Mobile Machinery (NRMM) Low Emission Zone standards for | (London Plan Policy SI 1 (D)). |  | LB Barking & Dagenham
2 | Measures to control emissions during the | phase relevant to a | risk site should be written into an Air Quality and Dust Management Plan (AQDMP), or form part of a Construction Environmental Management Plan, in line with the requirements of the Control of Dust and Emissions during Construction and Demolition SPG. The AQDMP should be approved by the LPA and the measures and monitoring protocols implemented throughout the construction phase (London Plan Policy SI 1 (D)). | LB Barnet
3 | The number of parking spaces must not exceed that accounted for in the submitted air quality neutral calculation |  |  | LB Bexley
4 | Details of the appliance/plant for generating energy for the Proposed Development must be submitted to, and agreed by the LPA before installation. This is to ensure that the system is as good as, or better than that used in the AQN assessment. |  |  | LB Brent
5 | Details of the abatement equipment for the appliance/plant for generating energy for the Proposed Development must be submitted to, and agreed by the LPA before installation. This is to ensure that the system is as good as, or better than that used in the AQN assessment. Details of the use and maintenance schedule of the equipment should be included in the submission |  |  | LB Bromley
6 | Details of the measures to reduce trip generation or trip length should be secured by a condition, wording is dependant on the required measures. |  |  | LB Camden
7 | Use of the backup generator(s) is restricted to emergency use and operational testing (less than 50 hours per year). |  |  | City of London Corporation
LB Croydon
LB Ealing
LB Enfield
RB Greenwich
| The proposed development | is not located in an Air Quality Focus Area however the suitability of the site for the proposed use, in terms of the air quality exposure of the future occupants of the development, should be carefully assessed. This assessment should consider all relevant sources of pollution (e.g. local road network, nearby railway). The use of design measures to minimise exposure of sensitive users should also be demonstrated. | is located in an Air Quality Focus Area so the suitability of the site for the proposed use, in terms of the air quality exposure of the future occupants of the development, should be carefully assessed. This assessment should consider all relevant sources of pollution (e.g. local road network, nearby railway). The use of design measures to minimise exposure of sensitive users should also be demonstrated. | LB Hackney
| The air quality assessment should take account of local monitoring data, including that carried out by the | , to establish a baseline. Any dispersion model will need to be verified in line with TG(22) technical guidance. Should suitable monitoring data (including for verification) not be available, the applicant should consider undertaking a baseline NO2 monitoring survey for at least 6 months. |  | LB Hammersmith & Fulham
LB Haringey
LB Harrow
LB Havering
LB Hillingdon
LB Hounslow
LB Islington
RB Kensington & Chelsea
RB Kingston Upon Thames
LB Lambeth
LB Lewisham
LB Merton
LB Newham
LB Redbridge
LB Richmond Upon Thames
LB Southwark
LB Sutton
LB Tower Hamlets
LB Waltham Forest
LB Wandsworth
City of Westminster