## Case details
WLC Memo: GLA Consultation
Case details
Date of first review: | 2026-01-06
Case Name: | Stoney Wood Quarter
Case Number: | 2025/1042
Case Officer: | Matthew Woodhead
London Borough:
Application Type (Outline/Hybrid/Detailed): | Detailed
Applicant:
WLC Consultant: | Stantec UK Limited
Document Title:
Document Date:
Development proposals
Use | Floorspace/Number of units
Residential (C3) | 39363 | m2
m2
m2

## Detailed planning stage
London Plan: Policy SI 2 of the London Plan requires planning applicants to submit a Whole Life-Cycle Carbon (WLC) assessment: https://www.london.gov.uk/sites/default/files/the_london_plan_2021.pdf
Guidance and assessment template: Applicants should follow the GLA 'Whole Life-Cycle Carbon Assessments Guidance - March 2022 and the GLA WLC assessment template (https://www.london.gov.uk/what-we-do/planning/implementing-london-plan/london-plan-guidance/whole-life-cycle-carbon-assessments-guidance) which should be completed in full and submitted as an Excel document. Applicants should ensure they are familiar with the guidance in preparation for submitting their planning application.
The following comments set out how the applicant's planning application stage WLC assessment complies with the policy and guidance.
GLA Review_06/01/26 |  | Applicant's response | GLA Review 21/05/2026 | Applicant's response
General compliance comments
1 | The applicant has provided all information within the project details section of the template under the Outline planning stage tab, in line with the GLA Whole Life-Cycle Carbon Assessment guidance document. | N/A
2 | The assessment method stated does conform with BS EN 15978 and 'RICS Professional Statement and guidance, Whole Life carbon assessment for the built environment' (RICS PS) as set out in the GLA Whole Life-Cycle Carbon Assessment guidance document. | N/A
3 | The applicant has confirmed that the operational modelling methodology for Module B6 results do follow SAP. | N/A
4 | The assessment has been completed with a reference study period of 60 years. | N/A
5 | The software tool used is listed in Appendix 1 of the GLA Whole Life-Cycle Carbon Assessment guidance document. The applicant has provided confirmation that the tool used follows BS EN 15978 and covers modules A-C as a minimum. | N/A
6 | The source of carbon data for materials and products, and EPD database stated within the assessment does come from acceptable sources as set out in the GLA Whole Life-Cycle Carbon Assessment guidance document. | N/A
7 | The applicant has not confirmed that 95% of the cost allocated to each building element category has been accounted for in the assessment. | N/A | The applicant should provide details/evidence of the review process undertaken to confirm that 95% of the cost per building element category has been modelled as per the previous GLA comment. | The WLCA was undertaken at planning stage using the available architectural, structural, and MEP design information, and was therefore structured around the principal building elements and material quantities that were sufficiently defined at that stage. The assessment intentionally captured all major element groups and dominant material contributors across the building envelope, superstructure, substructure, internal finishes, and building services, ensuring that the model represented the full scope of the proposed development in carbon terms. Further calculations will be undertaken at the detailed design stage when a detailed cost plan for the project is available.
8 | The applicant should provide explanation of the third-party verification mechanisms that have been adopted to quality assure the assessment. This is expected to be completed at the detailed stage | N/A | The applicant should provide explanation of the third-party verification mechanisms that have been adopted to quality assure the assessment. This is expected to be completed at the detailed stage as per the previous GLA comment. | Third-party verification has been undertaken through an independent LCA assessor, separate from both the design team and the client team. The assessor was not involved in either the modelling or the preparation of the report and has carried out a quality assurance review of both the assessment model and the report. The findings of the quality assurance review identified areas requiring correction and modification within the WLCA. These recommendations were subsequently incorporated, and a revised assessment was issued to the client.
9 | applicant has given permission for the GLA to submit the assessment to the Built Environment Carbon Database. | N/A
Estimated WLC emissions
10 | The applicant has provided results that cover all of the life-cycle modules (A1-A5, B1-B5, B6-B7, C1-C4 and D). | N/A
11 | The applicant has provided results that fall within the WLC benchmarks for A1 - A5 however they are very close to the aspirational figure. Has there been thoughtful consideration in the shape and form for example, or specific use of low carbon materials for instance that allow such low A1-A5 emissions to be met? This should be justified. | Yes, materials with lower carbon emissions have been specified. High recycled content has been included for the reinforcement steel rebar for the foundations - 97% has been included in the assessment. The aluminium façade cladding has been specified with an increased recycled content (70%). The concrete wall included has CEM II which is a lower carbon option. These options have been included in the report to show how the carbon has been reduced. | The information provided is welcomed, however these options do not explain how the results are below the aspirational benchmarks for Module A1-A5. The applicant should ensure that all materials have been included within the model: - Stairs and Ramps: Does the concrete staircase include the associated rebar, handrails, balustrades etc? - External walls: Is mortar provided for the brickwork? - Finishes: Have paints, varnishes, and adhesives for all walls, ceilings, tiling, vinyl, carpet, etc. been provided? - Services (MEP): Have the following MEP items been modelled? - Fire alarm systems - Sprinkler systems - Drainage and sewage network - Water supply network - Lights and lighting distribution - Heating / cooling source | Most of the mentioned elements are included in the current modelling. As the design develops, further details and revised qualities will be modelled when further design information will be available. Currently, all main finishes, comprehensive components for external walls, concrete and rebar required for stairs, furniture, elevators, ventilation system, lighting system, electrical installations, heat pumps, Air handling unit, and other supporting services have been included.
Retention of existing buildings and structures
12 | N/A | N/A
13 | N/A | N/A
14 | N/A | N/A
Key actions and further opportunities to reduce whole life-cycle carbon emissions
15 | The applicant has provided details of the main actions with the biggest impacts which have informed this stage of the assessment. This should be provided at the detailed stage. Nothing further is required. | N/A
16 | The applicant has provided details of further potential opportunities which could be investigated as the design progresses, but which don't currently contribute towards the emissions reported in this WLC assessment. | N/A
17 | The applicant has provided an estimation of the WLC reduction (kgCO2e/m2 GIA) for all actions and further potential opportunities stated within the template. This should be provided at the detailed stage. Nothing further is required. | N/A
Material quantity, assumptions and end of life scenarios
18 | The applicant should complete the material quantity and end of life scenarios table in full. | Completed at page 35. | The information provided is welcomed. The applicant should ensure that the maintenance, repair and replacement cycles are correct, the emissions for module B4 for MEP is lower than expected, please clarify. Additionally, the applicant should ensure that the refrigerant annual leakage rate % and End of life recovery rate % are correct. The applicant should refer to Table 4.4 of CIBSE TM65 for the relevant information. | B4 emission for MEP elements (572,396 Kg CO2e) is currently higher than the MEP upfront emissions (446,086 Kg CO2e) (total of A1 -A5). All emissions figures were calculated using One Click LCA software, based on reliable and currently valid EDPs. Refrigerant annual leakage rate % and End of life recovery rate % have been updated as per CIBSE TM65 Table 4.4. Please find attached the updated WLCA spreadsheet.
19 | All material types and quantities have been provided for all the applicable building element categories and align with the Assessment table. | N/A
20 | Assumptions made with respect to maintenance, repair and replacement cycles (Module B) have been stated. | N/A
21 | Material 'end of life' scenarios (Module C) has been filled out for all applicable significant materials and should align with the projects separate Circular Economy Statement. | N/A
22 | The applicant has provided an estimated mass (kg) of reusable and recyclable materials for each building element category. | N/A
23 | The applicant should provide details of the refrigerants (name, charge, annual leakage rate, GWP, end of life recovery rate) at the detailed stage. Nothing further is required. | N/A
GWP potential for all life-cycle modules
24 | The applicant should complete the template GWP table completely and all results do not seem within a reasonable range. The applicant should clarify the following: - The sequestered carbon emissions for FFE appears very high. Please justify what materials contribute to such values? - B3 emissions omitted | * Sequestered carbon emissions for FFE have been provided for each of the fittings and furniture by the lca software. The items that contribute to the biogenic carbon include the desks with timber elements (-1387695 kgCO2e), wooden wardrobes (-18972 kgco2e) and other wardrobes with timber elements (-94307 kgCO2e) , wooden doors for cabinets (-2174 kgCO2e), office chairs (-5742 kgCO2e), cubical (-13452 kgCO2e), kitchen cabinets (-49239 kg CO2e), coffee tables (-130900 kg CO2e), sofas (-3571920 kgCO2e), desks (-2293 kg CO2e), tables (-20313 + - 2235 + -3780 kgCO2e), dormers (-2324+ -958 kgCO2e), lights (-458 kgCO2e). * The B3 impacts have been calculated assuming to be equivalent to 25% of B2 maintenance impacts and 10% of A1-A3 impacts of MEP equipment. | Sequestered carbon: The information provided is welcomed. The emissions seem higher than expected, however the applicant has shown there are multiple materials which contribute to the biogenic carbon. Module B3: The emissions for Module B3 does not follow 25% of Module B2, the applicant should clarify. 25% of 10kgCO2e/m2 = 2.5kgCO2e/m2 | Duplicated equations were identified in the GLA spreadsheet, resulting in the 10% allowance of A1–A3 being incorrectly applied twice across all materials. This error has now been rectified, and the equations have been corrected. Please find the attached updated WLCA spreadsheet.