## lfepa-low-carbon-generators-201
London Fire Brigade
Low carbon generators at fire stations
Issue: 17.06.2016
Fire station | Address | Postcode | Number of Photovoltaic Arrays | Photovoltaic Output at Peak (kWp) | Photovoltaic Installation Date | Number of Combined Heat and Power | Combined Heat and Power kWe (electric power output) and kWt (heat output) | Combined Heat and Power Installation Date | Number of Wind Turbine | Wind Turbine mean power kWh | Wind Turbine Installation Date | Number of Solar Thermal Unit | Solar Thermal power Output | Solar Thermal Installation Date | Biomass | Biomass power output | Biomass Installation Date | Number Of Ground Source Heat pumps | Heat Pump Output | Ground Source Heat Pump Installation Date
Acton | 27 Gunnesbury Lane | W3 8EA | 1 | 22 kWp | 2006
Addington | 197-199 Lodge Lane | CR0 0QA | [9 empty] | 1 | 21kWt | 2008
Barking | Alfred's Way | IG11 0BB | 2 | 18kWp | 2012 | 1 | 5.3kWe & 15kWt | 2008
Barnet | 144 Station Road | EN5 1TE | 1 | 12kWp | 2007 | 1 | 5.3kWe & 15kWt | 2010
Battersea | 11 Este Road | SW11 2TL | 1 | 9.03kWp | 2007 | 1 | 5.3kWe & 15kWt | 2008
Beckenham | 8 Beckenham Road | BR 3 4LR | [9 empty] | 1 | 21kWt | 2008
Bethnal Green | 11 Roman Road | E2 0HU |  |  |  | 2 | 5.3kWe & 15kWt | 2010
Bexley | 172 Erith Road | DA7 6BY | 1 | 10.15kWp | 2016
Biggin Hill | 2 Kingsmead | TN16 3UB
Brixton | 84 Gresham Road | SW9 7NP
Bromley | 4 South Street | BR1 1RH |  |  |  | 1 |  | 2017
Chelsea | 264 Kings Road | SW1 5UF | [5 empty] | 2017
Chingford | 34 The Ridgeway | E4 6PP |  |  |  | 1 |  | 2016 |  |  |  | 1 | 21kWt | 2008
Chiswick | 2-4 Heathfield Gardens | W4 4JY | 1 | 9.03kWp | 2007 | 1 | 5.3kWe & 15kWt | 2009
Clapham | 29 Old Town | SW4 0JT | 2 | 9.72kWp | 2007 | 2 | 10.6kWe & 30kWt | 2010
Croydon | 90 Old Town | CR0 1AR | 3 | 14.04kWp | 2010 | 2 | 10.6kWe & 30kWt | 2010 | [6 empty] | 2 | 90kW | 2010
Dagenham | 70 Rainham Road North | RM10 7ES | 1 | 13.50kWp | 2015 | 1 | 22kWe & 51.3kWe | 2015
Deptford | 186 Evelyn Street | SE8 8PR
Dockhead | 8 Woseley Street | SE1 2BP | 1 | 7.0kWp | 2016 | 1 | 12 kWe & 28kW | 2016
Dowgate | 94-95 Upper Thames Street | EC4R 3UE
Ealing | 60-64 Uxbridge Road | W13 8RA |  |  |  | 1 | 5.3kWe & 15kWt | 2009
East Greenwich | 325 Woolwich Road | SE7 7RF
East Ham | 210 High Street South | E6 3RS | 1 | 9.72kWp | 2008 | 2 | 10.6kWe & 30kWt | 2007
Edmonton | 99 Church Street | N9 9AA | 1 | 9.72kWp | 2008 | 1 | 5.3kWe & 15kWt | 2009 |  |  |  | 1 | 21kWt | 2008
Eltam | 266 Eltham High Street | SE9 1BA
Enfield | 93 Carterhatch Lane | EN1 4LA
Erith | 52 Erith Road | DA17 6HR | [9 empty] | 1 | 21kWt | 2008
Euston | 172 Euston Road | NW1 2DH
Feltham | 101 Faggs Road | TW14 0LH | 1 | 9.72kWp | 2009 | 1 | 5.3kWe & 15kWt | 2008
Finchley | 227 Long Lane | N3 2RP | 1 | 10.15kWp | 2016 | 1 | 5.3kWe & 15kWt | 2008
Forest Hill | 155 Stanstead Road | SE23 1HP | 1 | 10.15kWp | 2016 | [6 empty] | 1 | 21kWt | 2008
Fulham | 685 Fulham Road | SW6 5UJ | [5 empty] | 2017
Greenwich | 4 Blisset Street | SE10 8UP
Hainault | 368-388 New North Road | IG 6 3DY | 1 | 16.20kWp | 2017 | [6 empty] | 1
Hammersmith | 190-192 Shepherd's Bush Road | W6 7NL |  |  |  | 1 | 9kWe/20kWth | 2014
Harold Hill | Units 7-9 Falcon Business Centre, Ashton Road | RM3 8UR | 1 | 20kWp | 2010 | 1 | 5.3kWe & 15kWt | 2010 |  |  |  | 1 | 40kWt | 2008
Harrow | 500 Pinner Road | HA5 5RW
Hayes | 65 Shepiston Lane | UB3 1LL | 1 | 12.10kWp | 2014 | 1 | 5.3kWe & 15kWt | 2007 | 1 | 1.1kW | 2006
Heathrow | Building 450 | TW6 2RR
Hendon | 91 The Burroughts | NW4 4BL | [5 empty] | 2015
Heston | 520 London Road | TW7 4HR
Hillingdon | Uxbridge Road | UB10 0PH | 1 | 5.83kWp | 2009 | 1 | 5.3kWe & 15kWt | 2008
Holloway | 262-268 Hornsey Road | N7 7QT | 1 | 8.8kWp | 2009
Homerton | 97 Homerton High Street | E9 6DL | 1 | 8.8kWp | 2009
Hornchuch | 42 North Street | RM11 1SH | 1 | 4.5kWp | 2012 |  | 9kWe/20kWth | 2014
Hornsey | 108 Park Avenue South | N8 8LS | 1 | 5.83kWp | 2009 | 1 | 5.3kWe & 15kWt | 2008
Ilford | 460 High Road | IG1 1UE | 1 | 8.8kWp | 2009
Islington | 278 Upper Street | N1 2TZ
Kensington | 13 Old Court, Kenington High Street | W8 4PL
Kentish Town | 20 Highgate Road | NW5 1NS
Kingston | 390 Richmond Road | KT2 5PR | 1 | 22kWp | 2014 | 1 | 5.3kWe & 15kWt | 2010
Lambeth | 8 Albert Embankment | SE1 7SD
Lambeth River | Opposite 8 Albert Embankment | SE1 7SD | 1 | 12kWp | 2011
Lee Green | 9 Eltham Road | SE12 8ES
Lewisham | 249/259 Lewisham High Street | SE13 6NH | 1 | 20.93kWp | 2015 | 1 | 5.3kWe & 15kWt | 2009 |  |  |  | 1 | 16kWt | 2008
Leyton | 90B Church Road | E10 5HG | 1 | 28.64kWp | 2017
Leytonstone | 466 High Road | E11 3HN | 1 | 12.25kWp | 2016 | 1 | 7.5kWe & 19kWe | 2016
Merton | London Operations Centre,Jubilee Way,Merton Industrial Park,London | SW19 3XD | 2 | 77kWp | 2012 |  |  |  | 2 | 40kW | 2009 | 2 | 140kWh | 2009
Mill Hill | 10 Hartley Avenue | NW7 2HX
Millwall | 43 Westferry Road | E14 8JH |  |  |  | 1 |  | 2016
Mitcham | 30 Lower Green West, | CR4 3AF | 1 | 11.75kWp | 2014 | 1 | 7.5kWe&20.5kWt | 2015
New Cross | 266 Queen's Road | SE14 5JN
New Malden | 180 Burlington Road | KT3 4RW | 1 | 15kWp | 2014 | 1 |  | 2017
Norbury | 1321/1325A London Road | SW16 4AU | 1 | 12.6kWp | 2007
North Kensington | 242 Ladbroke Grove | W10 5LP
Northholt | 74 Petts Hill | UB5 4JT |  |  |  | 1 | 5.3kWe & 15kWt | 2007
Old Kent Road | 405 Old Kent Road | SE1 5JH | 1 | 5kWp | 2015 | 1 | 12kWe & 19kWe | 2015
Orpington | Avalon Road | BR6 9AX | 1 | 2.5kWp | 2015 | 1 | 7.5kWe&20.5kWt | 2015
Paddington | 156 Harrow Road | W2 6NL |  |  |  |  | IN WIP | 2017
Park Royal | Waxlow Road | NW10 7NU | 1 | 9.03kWp | 2008 | 1 | 5.3kWe & 15kWt | 2009
Peckham | 78-80 Peckham Road | SE5 8PR | [9 empty] | 1 | 21kWt | 2008
Plaistow | 145 Prince Regent Lane | E13 8RY | 1 | 3.25kWp | 2015 | 1 | 22kWe & 51.3kWe | 2015
Plumstead | 1 Lakedale Road | SE18 1PP
Poplar | 168 East India Dock Road | E14 0BP
Purley | 128 Brighton Road | CR8 4DB | 1 | 13.00kWp | 2016 | 1 | 7.5kWe&20.5kWt | 2016
Richmond | 323 Lower Richmond Road | TW9 4PN | 1 | 17.5kWp | 2006 | 1 | 5.3kWe & 15kWt | 2010
Romford | 198 Pettits Lane North | RM1 4NU | [9 empty] | 1 | 21kWt | 2008
Ruislip | Bury Street | HA4 7TW | 1 | 9.03kWp | 2007 | 1 | 5.3kWe & 15kWt | 2009
Shadwell | 290 Cable Street | E1 0BX | 1 | 8.75kWp | 2016 | 1 | 12kWe & 19kWe | 2016
Shoreditch | 235 Old Street | EC1V 9EY |  |  |  | 2 | 10.6kWe & 30kWt | 2010
Sidcup | 162 Main Road | DA14 6NZ | 1 | 18kWp | 2012
Soho | 126 Shaftesbury Avenue | W1D 5ET
Southall | 17-19 High Street | UB1 3HA | 1 | 5.83kWp | 2007 | 1 | 5.3kWe & 15kWt | 2008
Southgate | 96 High Street | N14 6BN | 1 | 19.72kwp | 2016 | 2 | 5.3kWe & 15kWt | 2010
Stanmore | 650 Honeypot Lane | HA7 1JS | 1 | 9.03kWp | 2007 | 1 | 5.3kWe & 15kWt | 2007
Stoke Newington | 64 Stoke Newington Church Street | N16 0AP
Stratford | 117 Romford Road | E15 4LY
Surbiton | 31/33 Ewell Road | KT6 6AF
Sutton | 43 St Dunstans Hill | SM1 2JX | 1 | 13.5kWp | 2012 | 2 | 5.3kWe & 15kWt | 2010 & 2016
Tooting | 91 Trinity Road | SW17 7SQ | [9 empty] | 1 | 35kWt | 2008
Tottenham | 49 St Loys Road | N17 6UE | 1 | 9.03kWp | 2007
Twickenham | 30 South Road | TW2 5NT | 1 | 24.2kWp | 2014 | 1 | 5.3kWe & 15kWt | 2010
Wallington | 19 Belmont Road | SM6 8TE | 1 | 6.87kWp | 2014
Walthamstow | 343 Forest Road | E17 5JR | 1 | 22.5kWp | 2012 |  | 5.3kWe & 15kWt | 2012 |  |  |  |  | 90kwt | 2012 |  |  |  | 2 | 74 kWt | 2012
Wandsworth | 45 West Hill | SW18 1RL | 1 | 8.0kWp | 2013 | 2 | 10.6kWe & 30kWt | 2010
Wembley | 591a Harrow Road | HA0 2EG | 1 | 11.34kWp | 2008 | [6 empty] | 1 | 21kWt | 2008
Wennington | Wennington Road | RM13 9EE | [6 empty] | 1 | 6kW | 2006 | 1 | 21kWt | 2008
West Hampstead | 325 West End Lane | NW6 1RR
West Norwood | 445 Norwood Road | SE27 9DG | 1 | 10.50kWp | 2014
Whitechapel | 27 Commercial Road | E1 1LD
Willesden | 59a Pound Lane | NW10 2HH | 1 | 17.82kWp | 2007
Wimbledon | 87 Kingston Road | SW19 1JN | 1 | 12kWp | 2007 | 1 | 5.3kWe & 15kWt | 2010
Woodford | 2 Snakes Lane | IG8 0BS | 1 | 10.08kWp | 2017
Woodside | 2 Long Lane Addiscombe Road | CR0 7AL
|  |  | 61 |  |  | 52 |  |  | 4 |  |  | 16
PFI
REFIT PV | 1
REFIT PV | 2a
REFIT PV | 2b
REFIT PV | 3