## TM52 OVERHEATING
Overall
Passed: | 266 rooms:
Failed: | 16 rooms:
Unoccupied: | 37 rooms:
Data:
Building category: | Category II (new builds.)
Weather file: | London_LWC_DSY1_2020High50.epw
Days data= | 153 | 2018-05-01 | 2018-09-30
Days (summer)= | 153 | 2018-05-01 | 2018-09-30
Data OK? | OK | Full summer
Occupancy:
Note: | This report assesses occupied periods only. Please be aware that TM52 should be conducted for occupied and/or “available hours”.
Use of educational NCM profiles may be seen as inappropriate due to prolonged unoccupied periods during summer months.
See Section 6.1.2 (a) of TM52 for further information.
Passed: | 266 rooms:
Room Name | Room ID | Occupied days (%) | Criteria 1 (%Hrs Top-Tmax>=1K) | Criteria 2 (Max. Daily Deg.Hrs) | Criteria 3 (Max. DeltaT) | Criteria failing
B7-A-02-01 Bed | B7000004 | 100 | 0.4 | 12 | 2 | 2
B7-A-02-01 Circulation | B7000005 | 100 | 0.1 | 3 | 1 | -
B7-A-02-01 Bed | B7000006 | 100 | 0.6 | 21 | 3 | 2
B7-A-02-01 Living | B7000007 | 100 | 0.7 | 11 | 2 | 2
B7-A-02-01 Bed | B7000008 | 100 | 0.5 | 19 | 3 | 2
B7-A-02-01 Kitchen | B700000A | 100 | 1 | 15 | 3 | 2
B7-A-02-01 WC | B700000B | 100 | 0 | 0 | 0 | -
B7-A-02-02 Living | B700000C | 100 | 0.6 | 10 | 2 | 2
B7-A-02-02 Kitchen | B700000D | 100 | 0.7 | 10 | 2 | 2
B7-A-02-02 Circulation | B700000F | 100 | 0 | 0 | 0 | -
B7-A-02-02 Bath | B7000010 | 100 | 0.4 | 12 | 2 | 2
B7-A-02-03 Bed | B7000011 | 100 | 1.1 | 30 | 4 | 2
B7-A-02-03 Bed | B7000012 | 100 | 0.9 | 24 | 3 | 2
B7-A-02-03 Circulation | B7000013 | 100 | 0.5 | 14 | 2 | 2
B7-A-02-03 Bath | B7000014 | 100 | 0.1 | 4 | 1 | -
B7-A-02-03 Living/Kitchen | B7000015 | 100 | 0.8 | 13 | 3 | 2
B7-A-02-04 Living/Kitchen | B7000016 | 100 | 0.8 | 11 | 2 | 2
B7-A-02-04 Bath | B7000017 | 100 | 0 | 0 | 0 | -
B7-A-02-04 Bed | B7000018 | 100 | 0.5 | 18 | 3 | 2
B7-A-02-04 Circulation | B7000019 | 100 | 0 | 1 | 1 | -
B7-A-02-05 Living/Kitchen | B700001A | 100 | 0.9 | 16 | 3 | 2
B7-A-02-05 Circulation | B700001B | 100 | 0 | 0 | 0 | -
B7-A-02-05 Bath | B700001C | 100 | 0.5 | 15 | 2 | 2
B7-A-02-05 Bed | B700001D | 100 | 0.8 | 23 | 3 | 2
B7-A-02-H3 Living | B700001E | 100 | 1.5 | 20 | 3 | 2
B7-A-02-H3 Circulation | B700001F | 100 | 0.1 | 3 | 1 | -
B7-A-02-H3 Kitchen | B7000020 | 100 | 1.3 | 17 | 3 | 2
B7-A-02-H4 Living/Kitchen | B7000021 | 100 | 1.3 | 19 | 3 | 2
B7-A-02-H4 Circulation | B7000022 | 100 | 0.1 | 3 | 1 | -
B7-A-03-01 Bed | B7000023 | 100 | 0.5 | 14 | 2 | 2
B7-A-03-01 Bath | B7000024 | 100 | 0 | 0 | 0 | -
B7-A-03-01 Kitchen | B7000025 | 100 | 1 | 15 | 3 | 2
B7-A-03-01 WC | B7000026 | 100 | 0 | 1 | 1 | -
B7-A-03-01 Circulation | B7000027 | 100 | 0.1 | 3 | 1 | -
B7-A-03-01 Bed | B7000028 | 100 | 0.6 | 21 | 3 | 2
B7-A-03-01 Living | B7000029 | 100 | 0.7 | 11 | 2 | 2
B7-A-03-01 Bed | B700002A | 100 | 0.6 | 21 | 3 | 2
B7-A-03-02 Living/Kitchen | B700002B | 100 | 0.4 | 7 | 2 | 2
B7-A-03-02 Bed | B700002C | 100 | 0.6 | 20 | 3 | 2
B7-A-03-02 Circulation | B700002D | 100 | 0.1 | 5 | 1 | -
B7-A-03-02 Bath | B700002E | 100 | 0.4 | 12 | 2 | 2
B7-A-03-03 Bed | B700002F | 100 | 1.3 | 32 | 4 | 2
B7-A-03-03 Bed | B7000030 | 100 | 0.8 | 24 | 3 | 2
B7-A-03-03 Circulation | B7000031 | 100 | 0.4 | 9 | 2 | 2
B7-A-03-03 Bath | B7000032 | 100 | 0.1 | 4 | 1 | -
B7-A-03-03 Kitchen | B7000033 | 100 | 0.5 | 9 | 2 | 2
B7-A-03-03 Living | B7000034 | 100 | 0.9 | 16 | 3 | 2
B7-A-03-04 Bed | B7000035 | 100 | 1.1 | 29 | 4 | 2
B7-A-03-04 Bath | B7000036 | 100 | 0 | 0 | 0 | -
B7-A-03-04 Bed | B7000037 | 100 | 1 | 30 | 4 | 2
B7-A-03-04 Circulation | B7000038 | 100 | 0 | 0 | 0 | -
B7-A-03-04 Living/Kitchen | B7000039 | 100 | 0.8 | 12 | 3 | 2
B7-A-03-04 WC | B700003A | 100 | 0 | 0 | 0 | -
B7-A-03-04 Bed | B700003B | 100 | 0.8 | 22 | 3 | 2
B7-A-03-H4 Bath | B700003C | 100 | 0.1 | 4 | 1 | -
B7-A-03-H4 Circulation | B700003D | 100 | 0 | 0 | 0 | -
B7-A-03-H4 Bed | B700003E | 100 | 1 | 25 | 3 | 2
B7-A-04-02 Living/Kitchen | B7000040 | 100 | 0.5 | 8 | 2 | 2
B7-A-04-02 Bed | B7000041 | 100 | 0.8 | 22 | 3 | 2
B7-A-04-02 Circulation | B7000042 | 100 | 0.1 | 5 | 1 | -
B7-A-04-02 Bath | B7000043 | 100 | 0.5 | 13 | 2 | 2
B7-A-04-03 Bed | B7000044 | 100 | 1.4 | 33 | 4 | 2
B7-A-04-03 Bed | B7000045 | 100 | 0.8 | 24 | 3 | 2
B7-A-04-03 Circulation | B7000046 | 100 | 0.4 | 9 | 2 | 2
B7-A-04-03 Bath | B7000047 | 100 | 0.1 | 4 | 1 | -
B7-A-04-03 Kitchen | B7000048 | 100 | 0.5 | 9 | 2 | 2
B7-A-04-03 Living | B7000049 | 100 | 0.9 | 16 | 3 | 2
B7-A-04-04 Bed | B700004A | 100 | 1.1 | 29 | 4 | 2
B7-A-04-04 Bath | B700004B | 100 | 0 | 0 | 0 | -
B7-A-04-04 Bed | B700004C | 100 | 1 | 30 | 4 | 2
B7-A-04-04 Circulation | B700004D | 100 | 0 | 0 | 0 | -
B7-A-04-04 Living/Kitchen | B700004E | 100 | 0.9 | 16 | 3 | 2
B7-A-04-04 WC | B700004F | 100 | 0 | 0 | 0 | -
B7-A-04-04 Bed | B7000050 | 100 | 0.8 | 21 | 3 | 2
B7-A-04-01 Kitchen | B7000051 | 100 | 0 | 0 | 0 | -
B7-A-04-01 Bath | B7000052 | 100 | 0 | 0 | 0 | -
B7-A-04-01 Bed | B7000054 | 100 | 0.5 | 14 | 2 | 2
B7-A-04-01 Circulation | B7000055 | 100 | 0 | 0 | 0 | -
B7-A-04-01 Living | B7000056 | 100 | 0.8 | 14 | 3 | 2
B7-A-04-01 Bed | B7000057 | 100 | 0.5 | 17 | 2 | 2
B7-A-05-01 Bed | B7000059 | 100 | 0.6 | 18 | 3 | 2
B7-A-05-01 Bath | B700005A | 100 | 0 | 0 | 0 | -
B7-A-05-01 Kitchen | B700005B | 100 | 1.1 | 15 | 3 | 2
B7-A-05-01 WC | B700005C | 100 | 0.1 | 3 | 1 | -
B7-A-05-01 Circulation | B700005D | 100 | 0.1 | 5 | 1 | -
B7-A-05-01 Bed | B700005E | 100 | 0.7 | 25 | 3 | 2
B7-A-05-01 Living | B700005F | 100 | 0.9 | 17 | 3 | 2
B7-A-05-01 Bed | B7000060 | 100 | 0.6 | 23 | 3 | 2
B7-A-05-02 Living/Kitchen | B7000061 | 100 | 0.6 | 10 | 2 | 2
B7-A-05-02 Bed | B7000062 | 100 | 0.8 | 23 | 3 | 2
B7-A-05-02 Circulation | B7000063 | 100 | 0.2 | 6 | 1 | -
B7-A-05-02 Bath | B7000064 | 100 | 0.5 | 13 | 2 | 2
B7-A-05-03 Bed | B7000065 | 100 | 1.4 | 33 | 4 | 2
B7-A-05-03 Bath | B7000066 | 100 | 0.1 | 2 | 1 | -
B7-A-05-03 Kitchen/Living | B7000067 | 100 | 0.7 | 10 | 2 | 2
B7-A-05-03 Bed | B7000068 | 100 | 0.9 | 24 | 3 | 2
B7-A-05-03 Circulation | B7000069 | 100 | 0.4 | 12 | 2 | 2
B7-A-06-01 Bed | B700006B | 100 | 0.6 | 18 | 3 | 2
B7-A-06-01 Bath | B700006C | 100 | 0 | 0 | 0 | -
B7-A-06-01 Kitchen | B700006D | 100 | 1.1 | 15 | 3 | 2
B7-A-06-01 WC | B700006E | 100 | 0.1 | 3 | 1 | -
B7-A-06-01 Circulation | B700006F | 100 | 0.1 | 5 | 1 | -
B7-A-06-01 Bed | B7000070 | 100 | 0.7 | 25 | 3 | 2
B7-A-06-01 Living | B7000071 | 100 | 1.1 | 17 | 3 | 2
B7-A-06-01 Bed | B7000072 | 100 | 0.6 | 23 | 3 | 2
B7-A-06-02 Living/Kitchen | B7000073 | 100 | 0.6 | 10 | 2 | 2
B7-A-06-02 Bed | B7000074 | 100 | 0.9 | 22 | 3 | 2
B7-A-06-02 Circulation | B7000075 | 100 | 0.2 | 6 | 1 | -
B7-A-06-02 Bath | B7000076 | 100 | 0.5 | 14 | 2 | 2
B7-A-06-03 Bed | B7000077 | 100 | 1.4 | 33 | 4 | 2
B7-A-06-03 Bed | B7000078 | 100 | 0.8 | 24 | 3 | 2
B7-A-06-03 Living/Kitchen | B7000079 | 100 | 0.5 | 9 | 2 | 2
B7-A-06-03 Circulation | B700007A | 100 | 0.2 | 7 | 1 | 2
B7-A-06-03 Bath | B700007B | 100 | 0 | 0 | 0 | -
B7-A-07-01 Bed | B700007D | 100 | 0.6 | 18 | 3 | 2
B7-A-07-01 Bath | B700007E | 100 | 0 | 0 | 0 | -
B7-A-07-01 Kitchen | B700007F | 100 | 1.1 | 16 | 3 | 2
B7-A-07-01 WC | B7000080 | 100 | 0.1 | 3 | 1 | -
B7-A-07-01 Circulation | B7000081 | 100 | 0.1 | 5 | 1 | -
B7-A-07-01 Bed | B7000082 | 100 | 0.7 | 25 | 3 | 2
B7-A-07-01 Living | B7000083 | 100 | 1 | 17 | 3 | 2
B7-A-07-01 Bed | B7000084 | 100 | 0.6 | 23 | 3 | 2
B7-A-07-02 Living/Kitchen | B7000085 | 100 | 0.7 | 10 | 2 | 2
B7-A-07-02 Bed | B7000086 | 100 | 0.9 | 22 | 3 | 2
B7-A-07-02 Circulation | B7000087 | 100 | 0.2 | 7 | 1 | 2
B7-A-07-02 Bath | B7000088 | 100 | 0.5 | 14 | 2 | 2
B7-A-07-03 Bed | B7000089 | 100 | 1.3 | 33 | 4 | 2
B7-A-07-03 Bed | B700008A | 100 | 0.8 | 24 | 3 | 2
B7-A-07-03 Living/Kitchen | B700008B | 100 | 0.8 | 11 | 2 | 2
B7-A-07-03 Circulation | B700008C | 100 | 0.2 | 7 | 1 | 2
B7-A-07-03 Bath | B700008D | 100 | 0 | 0 | 0 | -
B7-A-08-01 Bed | B700008F | 100 | 0.6 | 19 | 3 | 2
B7-A-08-01 Bath | B7000090 | 100 | 0.1 | 2 | 1 | -
B7-A-08-01 Kitchen | B7000091 | 100 | 1.2 | 17 | 3 | 2
B7-A-08-01 WC | B7000092 | 100 | 0.1 | 5 | 1 | -
B7-A-08-01 Circulation | B7000093 | 100 | 0.2 | 6 | 1 | -
B7-A-08-01 Bed | B7000094 | 100 | 0.7 | 25 | 3 | 2
B7-A-08-01 Living | B7000095 | 100 | 1 | 17 | 3 | 2
B7-A-08-01 Bed | B7000096 | 100 | 0.6 | 23 | 3 | 2
B7-A-08-02 Bath | B7000097 | 100 | 0.5 | 13 | 2 | 2
B7-A-08-02 Bed | B7000098 | 100 | 1.3 | 33 | 4 | 2
B7-A-08-02 Bed | B7000099 | 100 | 0.9 | 22 | 3 | 2
B7-A-08-02 Living/Kitchen | B700009A | 100 | 1 | 15 | 3 | 2
B7-A-08-02 Circulation | B700009B | 100 | 0.2 | 7 | 1 | 2
B7-A-09-01 Bed | B700009D | 100 | 0.6 | 19 | 3 | 2
B7-A-09-01 Bath | B700009E | 100 | 0.1 | 2 | 1 | -
B7-A-09-01 Kitchen | B700009F | 100 | 1.2 | 17 | 3 | 2
B7-A-09-01 WC | B70000A0 | 100 | 0.1 | 5 | 1 | -
B7-A-09-01 Circulation | B70000A1 | 100 | 0.2 | 6 | 1 | -
B7-A-09-01 Bed | B70000A2 | 100 | 0.7 | 25 | 3 | 2
B7-A-09-01 Living | B70000A3 | 100 | 1 | 17 | 3 | 2
B7-A-09-01 Bed | B70000A4 | 100 | 0.6 | 23 | 3 | 2
B7-A-09-02 Bath | B70000A5 | 100 | 0.5 | 13 | 2 | 2
B7-A-09-02 Bed | B70000A6 | 100 | 1.1 | 30 | 4 | 2
B7-A-09-02 Bed | B70000A7 | 100 | 0.8 | 22 | 3 | 2
B7-A-09-02 Living/Kitchen | B70000A8 | 100 | 1.1 | 16 | 3 | 2
B7-A-09-02 Circulation | B70000A9 | 100 | 0.2 | 6 | 1 | -
B7-A-10-01 Bed | B70000AB | 100 | 0.6 | 19 | 3 | 2
B7-A-10-01 Bath | B70000AC | 100 | 0.1 | 2 | 1 | -
B7-A-10-01 Kitchen | B70000AD | 100 | 1.2 | 17 | 3 | 2
B7-A-10-01 WC | B70000AE | 100 | 0.1 | 5 | 1 | -
B7-A-10-01 Circulation | B70000AF | 100 | 0.2 | 6 | 1 | -
B7-A-10-01 Bed | B70000B0 | 100 | 0.7 | 25 | 3 | 2
B7-A-10-01 Living | B70000B1 | 100 | 1 | 17 | 3 | 2
B7-A-10-01 Bed | B70000B2 | 100 | 0.6 | 23 | 3 | 2
B7-A-10-02 Bath | B70000B3 | 100 | 0.5 | 13 | 2 | 2
B7-A-10-02 Bed | B70000B4 | 100 | 1.1 | 30 | 4 | 2
B7-A-10-02 Bed | B70000B5 | 100 | 0.8 | 22 | 3 | 2
B7-A-10-02 Living/Kitchen | B70000B6 | 100 | 1.1 | 16 | 3 | 2
B7-A-10-02 Circulation | B70000B7 | 100 | 0.2 | 6 | 1 | -
B7-A-11-01 Bed | B70000B9 | 100 | 0.6 | 19 | 3 | 2
B7-A-11-01 Bath | B70000BA | 100 | 0.1 | 2 | 1 | -
B7-A-11-01 Kitchen | B70000BB | 100 | 1.2 | 16 | 3 | 2
B7-A-11-01 WC | B70000BC | 100 | 0.1 | 5 | 1 | -
B7-A-11-01 Circulation | B70000BD | 100 | 0.2 | 6 | 1 | -
B7-A-11-01 Bed | B70000BE | 100 | 0.7 | 25 | 3 | 2
B7-A-11-01 Living | B70000BF | 100 | 1 | 17 | 3 | 2
B7-A-11-01 Bed | B70000C0 | 100 | 0.6 | 23 | 3 | 2
B7-A-11-02 Bath | B70000C1 | 100 | 0.5 | 13 | 2 | 2
B7-A-11-02 Bed | B70000C2 | 100 | 1.1 | 31 | 4 | 2
B7-A-11-02 Bed | B70000C3 | 100 | 0.8 | 22 | 3 | 2
B7-A-11-02 Living/Kitchen | B70000C4 | 100 | 1.1 | 16 | 3 | 2
B7-A-11-02 Circulation | B70000C5 | 100 | 0.2 | 6 | 1 | -
B7-A-12-01 Bed | B70000C7 | 100 | 0.6 | 19 | 3 | 2
B7-A-12-01 Bath | B70000C8 | 100 | 0 | 1 | 1 | -
B7-A-12-01 Kitchen | B70000C9 | 100 | 1.2 | 16 | 3 | 2
B7-A-12-01 WC | B70000CA | 100 | 0.1 | 4 | 1 | -
B7-A-12-01 Circulation | B70000CB | 100 | 0.1 | 5 | 1 | -
B7-A-12-01 Bed | B70000CC | 100 | 0.7 | 25 | 3 | 2
B7-A-12-01 Living | B70000CD | 100 | 1 | 17 | 3 | 2
B7-A-12-01 Bed | B70000CE | 100 | 0.6 | 23 | 3 | 2
B7-A-12-02 Bath | B70000CF | 100 | 0.5 | 13 | 2 | 2
B7-A-12-02 Bed | B70000D0 | 100 | 1.3 | 35 | 4 | 2
B7-A-12-02 Bed | B70000D1 | 100 | 0.7 | 20 | 3 | 2
B7-A-12-02 Living/Kitchen | B70000D2 | 100 | 0.8 | 15 | 3 | 2
B7-A-12-02 Circulation | B70000D3 | 100 | 0.2 | 6 | 1 | -
B7-A-13-01 Bed | B70000D5 | 100 | 0.6 | 19 | 3 | 2
B7-A-13-01 Bath | B70000D6 | 100 | 0 | 0 | 0 | -
B7-A-13-01 Kitchen | B70000D7 | 100 | 1 | 15 | 3 | 2
B7-A-13-01 WC | B70000D8 | 100 | 0 | 0 | 0 | -
B7-A-13-01 Circulation | B70000D9 | 100 | 0.1 | 5 | 1 | -
B7-A-13-01 Bed | B70000DA | 100 | 0.7 | 24 | 3 | 2
B7-A-13-01 Living | B70000DB | 100 | 1.2 | 18 | 3 | 2
B7-A-13-01 Bed | B70000DC | 100 | 0.6 | 23 | 3 | 2
B7-A-01-01 Living/Kitchen | B70000DF | 100 | 0.2 | 4 | 1 | -
B7-A-01-01 Circulation | B70000E0 | 100 | 0 | 0 | 0 | -
B7-A-01-01 WC | B70000E1 | 100 | 0 | 0 | 0 | -
B7-A-01-01 Bath | B70000E2 | 100 | 0 | 0 | 0 | -
B7-A-01-01 Bed | B70000E3 | 100 | 0.4 | 11 | 2 | 2
B7-A-01-01 Bed | B70000E4 | 100 | 0.5 | 14 | 2 | 2
B7-A-01-02 Bed | B70000E5 | 100 | 0.4 | 12 | 2 | 2
B7-A-01-02 Bed | B70000E6 | 100 | 1.6 | 29 | 4 | 2
B7-A-01-02 Circulation | B70000E7 | 100 | 0.1 | 4 | 1 | -
B7-A-01-02 Bath | B70000E8 | 100 | 0 | 0 | 0 | -
B7-A-01-03 Bed | B70000E9 | 100 | 1.1 | 26 | 3 | 2
B7-A-01-03 Living/Kitchen | B70000EA | 100 | 0.2 | 4 | 1 | -
B7-A-01-03 Circulation | B70000EB | 100 | 0 | 0 | 0 | -
B7-A-01-03 Bath | B70000EC | 100 | 0 | 0 | 0 | -
B7-A-01-03 Bed | B70000ED | 100 | 0.5 | 16 | 2 | 2
B7-A-01-04 Bed | B70000EE | 100 | 0.6 | 19 | 3 | 2
B7-A-01-04 Bed | B70000EF | 100 | 0.4 | 13 | 2 | 2
B7-A-01-04 Bath | B70000F0 | 100 | 0.1 | 3 | 1 | -
B7-A-01-04 Circulation | B70000F1 | 100 | 0 | 0 | 0 | -
B7-A-01-H1 Bed | B70000F2 | 100 | 0.7 | 20 | 3 | 2
B7-A-01-H1 Circulation | B70000F3 | 100 | 0 | 0 | 0 | -
B7-A-01-H1 Bath | B70000F4 | 100 | 0 | 0 | 0 | -
B7-A-01-H1 Study/Bed | B70000F5 | 100 | 0.8 | 22 | 3 | 2
B7-A-01-H2 Bed | B70000F7 | 100 | 0.9 | 24 | 3 | 2
B7-A-01-H2 Circulation | B70000F8 | 100 | 0.1 | 4 | 1 | -
B7-A-01-H2 Bath | B70000F9 | 100 | 0 | 0 | 0 | -
B7-A-01-H2 Study/Bed | B70000FA | 100 | 1 | 25 | 3 | 2
B7-A-01-H3 Study/Bed | B70000FC | 100 | 1 | 25 | 3 | 2
B7-A-01-H3 Bath | B70000FD | 100 | 0.1 | 4 | 1 | -
B7-A-01-H3 Circulation | B70000FE | 100 | 0.1 | 5 | 1 | -
B7-A-01-H3 Bed | B70000FF | 100 | 1.1 | 26 | 3 | 2
B7-A-01-H4 Circulation | B7000100 | 100 | 0 | 0 | 0 | -
B7-A-01-H4 Bed | B7000101 | 100 | 0.9 | 24 | 3 | 2
B7-A-01-H4 Study/Bed | B7000102 | 100 | 1 | 25 | 3 | 2
B7-A-01-H4 Bath | B7000103 | 100 | 0.1 | 5 | 1 | -
B7-A-00-01 Bed | B7000109 | 100 | 1.2 | 27 | 3 | 2
B7-A-00-01 Living/Kitchen | B700010A | 100 | 0.2 | 3 | 1 | -
B7-A-00-01 Circulation | B700010B | 100 | 0 | 0 | 0 | -
B7-A-00-01 Bath | B700010C | 100 | 0 | 0 | 0 | -
B7-A-00-01 Bed | B700010D | 100 | 0.5 | 15 | 2 | 2
B7-A-00-H1 Bed | B700010E | 100 | 0.5 | 14 | 2 | 2
B7-A-00-H1 Bed | B700010F | 100 | 1 | 22 | 3 | 2
B7-A-00-H1 Bath | B7000110 | 100 | 0 | 0 | 0 | -
B7-A-00-H1 Circulation | B7000111 | 100 | 0 | 0 | 0 | -
B7-A-00-H2 Bed | B7000112 | 100 | 0.9 | 21 | 3 | 2
B7-A-00-H2 Bath | B7000113 | 100 | 0 | 0 | 0 | -
B7-A-00-H2 Bed | B7000114 | 100 | 1.1 | 26 | 3 | 2
B7-A-00-H2 Circulation | B7000115 | 100 | 0.1 | 4 | 1 | -
B7-A-00-H3 Bed | B7000116 | 100 | 1.1 | 30 | 4 | 2
B7-A-00-H3 Bed | B7000117 | 100 | 1.1 | 30 | 4 | 2
B7-A-00-H3 Circulation | B7000118 | 100 | 0.1 | 4 | 1 | -
B7-A-00-H3 Bath | B7000119 | 100 | 0 | 0 | 0 | -
B7-A-00-H4 Circulation | B700011A | 100 | 0 | 0 | 0 | -
B7-A-00-H4 Bath | B700011B | 100 | 0 | 0 | 0 | -
B7-A-00-H4 Bed | B700011C | 100 | 0.9 | 21 | 3 | 2
B7-A-00-H4 Bed | B700011D | 100 | 1.1 | 26 | 3 | 2
B7-A-02-H1 Living | B7000001 | 100 | 1.1 | 16 | 3 | 2
B7-A-02-H1 Kitchen | B700011E | 100 | 0.8 | 15 | 3 | 2
B7-A-02-H1 Circulation | B700011F | 100 | 0.2 | 6 | 1 | -
B7-A-02-H2 Living | B7000002 | 100 | 1.2 | 17 | 3 | 2
B7-A-02-H2 Kitchen | B7000120 | 100 | 0.9 | 16 | 3 | 2
B7-A-02-H2 Circulation | B7000121 | 100 | 0.3 | 7 | 1 | 2
Failed: | 16 rooms:
Room Name | Room ID | Occupied days (%) | Criteria 1 (%Hrs Top-Tmax>=1K) | Criteria 2 (Max. Daily Deg.Hrs) | Criteria 3 (Max. DeltaT) | Criteria failing
B7-A-02 Circulation | B7000000 | 100 | 7 | 60 | 5 | 1 & 2 & 3
B7-A-03 Circulation | B7000003 | 100 | 7 | 60 | 5 | 1 & 2 & 3
B7-A-04 Circulation | B700003F | 100 | 7 | 60 | 5 | 1 & 2 & 3
B7-A-05 Circulation | B7000058 | 100 | 7.1 | 60 | 5 | 1 & 2 & 3
B7-A-06 Circulation | B700006A | 100 | 7 | 59 | 5 | 1 & 2 & 3
B7-A-07 Circulation | B700007C | 100 | 7.1 | 60 | 5 | 1 & 2 & 3
B7-A-08 Circulation | B700008E | 100 | 8.5 | 67 | 5 | 1 & 2 & 3
B7-A-09 Circulation | B700009C | 100 | 8.4 | 66 | 5 | 1 & 2 & 3
B7-A-10 Circulation | B70000AA | 100 | 8.3 | 66 | 5 | 1 & 2 & 3
B7-A-11 Circulation | B70000B8 | 100 | 8.4 | 67 | 5 | 1 & 2 & 3
B7-A-12 Circulation | B70000C6 | 100 | 9.1 | 74 | 6 | 1 & 2 & 3
B7-A-13 Circulation | B70000D4 | 100 | 12.5 | 86 | 6 | 1 & 2 & 3
B7-A-01 Circulation | B70000DD | 100 | 7.6 | 62 | 5 | 1 & 2 & 3
B7-A-00 Circulation | B7000104 | 100 | 8.1 | 61 | 5 | 1 & 2 & 3
B7-A-00 Circulation | B7000105 | 100 | 6.9 | 56 | 5 | 1 & 2 & 3
B7-A-00-01 Lobby | B7000107 | 100 | 6.7 | 53 | 5 | 1 & 2 & 3
Unoccupied: | 37 rooms:
Room Name | Room ID | Occupied days (%) | Criteria 1 (%Hrs Top-Tmax>=1K) | Criteria 2 (Max. Daily Deg.Hrs) | Criteria 3 (Max. DeltaT) | Criteria failing
Lift/Riser | LF000009 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000A | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000B | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000C | 0 | 0 | 0 | 0 | -
B7-A-02-01 | B7000009 | 0 | 0 | 0 | 0 | -
B7-A-02-02 Cupd | B700000E | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000D | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000E | 0 | 0 | 0 | 0 | -
B7-A-04-01 Cupd | B7000053 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000F | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000010 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000011 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000012 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000013 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000014 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000015 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000016 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000017 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000018 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000019 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001A | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001B | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001C | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001D | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001E | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001F | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000020 | 0 | 0 | 0 | 0 | -
Riser/Lifts | RS0000B1 | 0 | 0 | 0 | 0 | -
Riser/Lifts | RS0000B2 | 0 | 0 | 0 | 0 | -
B7-A-01 Void | B70000DE | 0 | 0 | 0 | 0 | -
B7-A-01-H1 Cupd | B70000F6 | 0 | 0 | 0 | 0 | -
B7-A-01-H2 Cupd | B70000FB | 0 | 0 | 0 | 0 | -
Riser/Lifts | RS0000B3 | 0 | 0 | 0 | 0 | -
Riser/Lifts | RS0000B4 | 0 | 0 | 0 | 0 | -
B7-A-00 Bins/Bikes | B7000106 | 0 | 0 | 0 | 0 | -
NR Access Zone | NR000000 | 0 | 0 | 0 | 0 | -
B7-A-00 Bike Store | B7000108 | 0 | 0 | 0 | 0 | -

## BEDROOM CRITERIA TEST
Weather file: | London_LWC_DSY1_2020High50.epw
1. In addition, the bedrooms must also not have >1% of occupied hours where internal temp>26degC (between the hours of 10pm-7am)
>33 HOURS IS A FAIL
BEDROOM IS PASSING
Air temperature (°C) - hours in range
Location | > 26.00 | PASS/FAIL
B7-A-05-02 Bed | 27 | PASS

## TM52 DSY2
Overall
Passed: | 129 rooms:
Failed: | 153 rooms:
Unoccupied: | 37 rooms:
Data:
Building category: | Category II (new builds.)
Weather file: | London_LWC_DSY2_2020High50.epw
Days data= | 153 | 2019-05-01 | 2019-09-30
Days (summer)= | 153 | 2019-05-01 | 2019-09-30
Data OK? | OK | Full summer
Occupancy:
Note: | This report assesses occupied periods only. Please be aware that TM52 should be conducted for occupied and/or “available hours”.
Use of educational NCM profiles may be seen as inappropriate due to prolonged unoccupied periods during summer months.
See Section 6.1.2 (a) of TM52 for further information.
Passed: | 129 rooms:
Room Name | Room ID | Occupied days (%) | Criteria 1 (%Hrs Top-Tmax>=1K) | Criteria 2 (Max. Daily Deg.Hrs) | Criteria 3 (Max. DeltaT) | Criteria failing
B7-A-02-01 Bed | B7000004 | 100 | 1.3 | 30 | 4 | 2
B7-A-02-01 Circulation | B7000005 | 100 | 0.8 | 18 | 3 | 2
B7-A-02-01 Living | B7000007 | 100 | 2.4 | 29 | 4 | 2
B7-A-02-01 Kitchen | B700000A | 100 | 2.8 | 22 | 4 | 2
B7-A-02-01 WC | B700000B | 100 | 0.5 | 11 | 2 | 2
B7-A-02-02 Living | B700000C | 100 | 2.1 | 27 | 4 | 2
B7-A-02-02 Kitchen | B700000D | 100 | 2.4 | 29 | 4 | 2
B7-A-02-02 Circulation | B700000F | 100 | 0.9 | 20 | 3 | 2
B7-A-02-02 Bath | B7000010 | 100 | 1.7 | 40 | 4 | 2
B7-A-02-03 Circulation | B7000013 | 100 | 1.9 | 42 | 4 | 2
B7-A-02-03 Bath | B7000014 | 100 | 0.9 | 22 | 3 | 2
B7-A-02-04 Living/Kitchen | B7000016 | 100 | 2.3 | 31 | 4 | 2
B7-A-02-04 Bath | B7000017 | 100 | 0.7 | 17 | 2 | 2
B7-A-02-04 Circulation | B7000019 | 100 | 0.8 | 19 | 3 | 2
B7-A-02-05 Circulation | B700001B | 100 | 0.8 | 23 | 3 | 2
B7-A-02-H3 Circulation | B700001F | 100 | 1.1 | 29 | 3 | 2
B7-A-02-H4 Circulation | B7000022 | 100 | 0.8 | 24 | 3 | 2
B7-A-03-01 Bath | B7000024 | 100 | 0.5 | 13 | 2 | 2
B7-A-03-01 Kitchen | B7000025 | 100 | 2.8 | 22 | 4 | 2
B7-A-03-01 WC | B7000026 | 100 | 0.6 | 12 | 2 | 2
B7-A-03-01 Circulation | B7000027 | 100 | 0.8 | 20 | 3 | 2
B7-A-03-01 Living | B7000029 | 100 | 2.4 | 29 | 4 | 2
B7-A-03-02 Living/Kitchen | B700002B | 100 | 1.8 | 23 | 4 | 2
B7-A-03-02 Circulation | B700002D | 100 | 1 | 27 | 3 | 2
B7-A-03-02 Bath | B700002E | 100 | 1.8 | 42 | 4 | 2
B7-A-03-03 Circulation | B7000031 | 100 | 1.6 | 42 | 4 | 2
B7-A-03-03 Bath | B7000032 | 100 | 0.9 | 23 | 3 | 2
B7-A-03-03 Kitchen | B7000033 | 100 | 2.1 | 26 | 4 | 2
B7-A-03-04 Bath | B7000036 | 100 | 0.5 | 14 | 2 | 2
B7-A-03-04 Circulation | B7000038 | 100 | 0.5 | 15 | 2 | 2
B7-A-03-04 WC | B700003A | 100 | 0.7 | 18 | 3 | 2
B7-A-03-H4 Bath | B700003C | 100 | 1 | 27 | 3 | 2
B7-A-03-H4 Circulation | B700003D | 100 | 0.7 | 22 | 3 | 2
B7-A-04-02 Living/Kitchen | B7000040 | 100 | 2 | 26 | 4 | 2
B7-A-04-02 Circulation | B7000042 | 100 | 1.1 | 28 | 3 | 2
B7-A-04-02 Bath | B7000043 | 100 | 1.9 | 44 | 4 | 2
B7-A-04-03 Circulation | B7000046 | 100 | 1.6 | 42 | 4 | 2
B7-A-04-03 Bath | B7000047 | 100 | 0.9 | 23 | 3 | 2
B7-A-04-03 Kitchen | B7000048 | 100 | 1.9 | 26 | 4 | 2
B7-A-04-04 Bath | B700004B | 100 | 0.5 | 14 | 2 | 2
B7-A-04-04 Circulation | B700004D | 100 | 0.6 | 16 | 2 | 2
B7-A-04-04 WC | B700004F | 100 | 0.7 | 18 | 3 | 2
B7-A-04-01 Kitchen | B7000051 | 100 | 0.6 | 10 | 2 | 2
B7-A-04-01 Bath | B7000052 | 100 | 0.5 | 13 | 2 | 2
B7-A-04-01 Circulation | B7000055 | 100 | 0.8 | 19 | 2 | 2
B7-A-05-01 Bath | B700005A | 100 | 0.6 | 15 | 2 | 2
B7-A-05-01 WC | B700005C | 100 | 0.7 | 16 | 3 | 2
B7-A-05-01 Circulation | B700005D | 100 | 1 | 26 | 3 | 2
B7-A-05-02 Living/Kitchen | B7000061 | 100 | 2.2 | 27 | 4 | 2
B7-A-05-02 Circulation | B7000063 | 100 | 1.1 | 31 | 4 | 2
B7-A-05-03 Bath | B7000066 | 100 | 0.8 | 22 | 3 | 2
B7-A-05-03 Circulation | B7000069 | 100 | 1.9 | 45 | 4 | 2
B7-A-06-01 Bath | B700006C | 100 | 0.7 | 16 | 2 | 2
B7-A-06-01 WC | B700006E | 100 | 0.7 | 16 | 3 | 2
B7-A-06-01 Circulation | B700006F | 100 | 1 | 27 | 3 | 2
B7-A-06-02 Living/Kitchen | B7000073 | 100 | 2.2 | 27 | 4 | 2
B7-A-06-02 Circulation | B7000075 | 100 | 1.1 | 32 | 3 | 2
B7-A-06-03 Living/Kitchen | B7000079 | 100 | 2.1 | 26 | 4 | 2
B7-A-06-03 Circulation | B700007A | 100 | 1.3 | 36 | 4 | 2
B7-A-06-03 Bath | B700007B | 100 | 0.6 | 16 | 2 | 2
B7-A-07-01 Bath | B700007E | 100 | 0.7 | 18 | 3 | 2
B7-A-07-01 WC | B7000080 | 100 | 0.7 | 17 | 3 | 2
B7-A-07-01 Circulation | B7000081 | 100 | 1 | 27 | 3 | 2
B7-A-07-02 Living/Kitchen | B7000085 | 100 | 2.4 | 30 | 4 | 2
B7-A-07-02 Circulation | B7000087 | 100 | 1.2 | 34 | 4 | 2
B7-A-07-03 Circulation | B700008C | 100 | 1.4 | 37 | 4 | 2
B7-A-07-03 Bath | B700008D | 100 | 0.7 | 19 | 3 | 2
B7-A-08-01 Bath | B7000090 | 100 | 0.8 | 19 | 3 | 2
B7-A-08-01 WC | B7000092 | 100 | 0.8 | 19 | 3 | 2
B7-A-08-01 Circulation | B7000093 | 100 | 1 | 27 | 3 | 2
B7-A-08-02 Circulation | B700009B | 100 | 1.3 | 36 | 4 | 2
B7-A-09-01 Bath | B700009E | 100 | 0.8 | 20 | 3 | 2
B7-A-09-01 WC | B70000A0 | 100 | 0.8 | 20 | 3 | 2
B7-A-09-01 Circulation | B70000A1 | 100 | 1 | 27 | 3 | 2
B7-A-09-02 Circulation | B70000A9 | 100 | 1.3 | 35 | 4 | 2
B7-A-10-01 Bath | B70000AC | 100 | 0.8 | 20 | 3 | 2
B7-A-10-01 WC | B70000AE | 100 | 0.8 | 20 | 3 | 2
B7-A-10-01 Circulation | B70000AF | 100 | 1 | 27 | 3 | 2
B7-A-10-02 Circulation | B70000B7 | 100 | 1.3 | 35 | 4 | 2
B7-A-11-01 Bath | B70000BA | 100 | 0.7 | 19 | 3 | 2
B7-A-11-01 WC | B70000BC | 100 | 0.8 | 20 | 3 | 2
B7-A-11-01 Circulation | B70000BD | 100 | 1 | 27 | 3 | 2
B7-A-11-02 Circulation | B70000C5 | 100 | 1.3 | 35 | 4 | 2
B7-A-12-01 Bath | B70000C8 | 100 | 0.7 | 18 | 3 | 2
B7-A-12-01 WC | B70000CA | 100 | 0.8 | 18 | 3 | 2
B7-A-12-01 Circulation | B70000CB | 100 | 1 | 27 | 3 | 2
B7-A-12-02 Circulation | B70000D3 | 100 | 1.3 | 35 | 4 | 2
B7-A-13-01 Bath | B70000D6 | 100 | 0.5 | 13 | 2 | 2
B7-A-13-01 WC | B70000D8 | 100 | 0.5 | 12 | 2 | 2
B7-A-13-01 Circulation | B70000D9 | 100 | 1 | 26 | 3 | 2
B7-A-01-01 Living/Kitchen | B70000DF | 100 | 1.1 | 16 | 3 | 2
B7-A-01-01 Circulation | B70000E0 | 100 | 0.1 | 5 | 1 | -
B7-A-01-01 WC | B70000E1 | 100 | 0 | 0 | 0 | -
B7-A-01-01 Bath | B70000E2 | 100 | 0 | 0 | 0 | -
B7-A-01-01 Bed | B70000E3 | 100 | 1.3 | 25 | 4 | 2
B7-A-01-01 Bed | B70000E4 | 100 | 1.6 | 33 | 4 | 2
B7-A-01-02 Bed | B70000E5 | 100 | 1.5 | 29 | 4 | 2
B7-A-01-02 Circulation | B70000E7 | 100 | 1 | 21 | 3 | 2
B7-A-01-02 Bath | B70000E8 | 100 | 0.7 | 16 | 2 | 2
B7-A-01-03 Living/Kitchen | B70000EA | 100 | 1.3 | 18 | 3 | 2
B7-A-01-03 Circulation | B70000EB | 100 | 1 | 21 | 2 | 2
B7-A-01-03 Bath | B70000EC | 100 | 0.6 | 15 | 2 | 2
B7-A-01-03 Bed | B70000ED | 100 | 1.8 | 37 | 4 | 2
B7-A-01-04 Bed | B70000EF | 100 | 1.7 | 36 | 4 | 2
B7-A-01-04 Bath | B70000F0 | 100 | 0.8 | 23 | 3 | 2
B7-A-01-04 Circulation | B70000F1 | 100 | 0.2 | 8 | 1 | 2
B7-A-01-H1 Circulation | B70000F3 | 100 | 0.8 | 20 | 3 | 2
B7-A-01-H1 Bath | B70000F4 | 100 | 0.6 | 17 | 2 | 2
B7-A-01-H2 Circulation | B70000F8 | 100 | 1 | 25 | 3 | 2
B7-A-01-H2 Bath | B70000F9 | 100 | 0.8 | 22 | 3 | 2
B7-A-01-H3 Bath | B70000FD | 100 | 1 | 27 | 3 | 2
B7-A-01-H3 Circulation | B70000FE | 100 | 1 | 25 | 3 | 2
B7-A-01-H4 Circulation | B7000100 | 100 | 0.8 | 22 | 3 | 2
B7-A-01-H4 Bath | B7000103 | 100 | 1 | 30 | 4 | 2
B7-A-00-01 Living/Kitchen | B700010A | 100 | 1.1 | 13 | 3 | 2
B7-A-00-01 Circulation | B700010B | 100 | 1 | 20 | 2 | 2
B7-A-00-01 Bath | B700010C | 100 | 0.5 | 11 | 2 | 2
B7-A-00-01 Bed | B700010D | 100 | 1.8 | 34 | 4 | 2
B7-A-00-H1 Bed | B700010E | 100 | 1.7 | 36 | 4 | 2
B7-A-00-H1 Bath | B7000110 | 100 | 0.6 | 17 | 2 | 2
B7-A-00-H1 Circulation | B7000111 | 100 | 0.9 | 26 | 3 | 2
B7-A-00-H2 Bath | B7000113 | 100 | 0.8 | 23 | 3 | 2
B7-A-00-H2 Circulation | B7000115 | 100 | 1.2 | 32 | 3 | 2
B7-A-00-H3 Circulation | B7000118 | 100 | 1.2 | 34 | 4 | 2
B7-A-00-H3 Bath | B7000119 | 100 | 0.9 | 25 | 3 | 2
B7-A-00-H4 Circulation | B700011A | 100 | 0.6 | 15 | 2 | 2
B7-A-00-H4 Bath | B700011B | 100 | 0.6 | 16 | 2 | 2
B7-A-02-H1 Circulation | B700011F | 100 | 0.9 | 23 | 3 | 2
B7-A-02-H2 Circulation | B7000121 | 100 | 1 | 28 | 4 | 2
Failed: | 153 rooms:
Room Name | Room ID | Occupied days (%) | Criteria 1 (%Hrs Top-Tmax>=1K) | Criteria 2 (Max. Daily Deg.Hrs) | Criteria 3 (Max. DeltaT) | Criteria failing
B7-A-02 Circulation | B7000000 | 100 | 8.4 | 114 | 9 | 1 & 2 & 3
B7-A-03 Circulation | B7000003 | 100 | 8.4 | 115 | 9 | 1 & 2 & 3
B7-A-02-01 Bed | B7000006 | 100 | 2 | 44 | 5 | 2 & 3
B7-A-02-01 Bed | B7000008 | 100 | 1.8 | 38 | 5 | 2 & 3
B7-A-02-03 Bed | B7000011 | 100 | 3.1 | 57 | 7 | 1 & 2 & 3
B7-A-02-03 Bed | B7000012 | 100 | 2.3 | 46 | 6 | 2 & 3
B7-A-02-03 Living/Kitchen | B7000015 | 100 | 2.5 | 33 | 5 | 2 & 3
B7-A-02-04 Bed | B7000018 | 100 | 2 | 43 | 5 | 2 & 3
B7-A-02-05 Living/Kitchen | B700001A | 100 | 2.7 | 34 | 5 | 2 & 3
B7-A-02-05 Bath | B700001C | 100 | 1.6 | 37 | 5 | 2 & 3
B7-A-02-05 Bed | B700001D | 100 | 2.5 | 48 | 5 | 2 & 3
B7-A-02-H3 Living | B700001E | 100 | 4.3 | 45 | 6 | 1 & 2 & 3
B7-A-02-H3 Kitchen | B7000020 | 100 | 3.6 | 42 | 6 | 1 & 2 & 3
B7-A-02-H4 Living/Kitchen | B7000021 | 100 | 3.7 | 43 | 6 | 1 & 2 & 3
B7-A-03-01 Bed | B7000023 | 100 | 1.4 | 32 | 5 | 2 & 3
B7-A-03-01 Bed | B7000028 | 100 | 2 | 45 | 5 | 2 & 3
B7-A-03-01 Bed | B700002A | 100 | 2 | 40 | 5 | 2 & 3
B7-A-03-02 Bed | B700002C | 100 | 2.1 | 46 | 5 | 2 & 3
B7-A-03-03 Bed | B700002F | 100 | 3.2 | 58 | 7 | 1 & 2 & 3
B7-A-03-03 Bed | B7000030 | 100 | 2.2 | 46 | 6 | 2 & 3
B7-A-03-03 Living | B7000034 | 100 | 2.8 | 34 | 5 | 2 & 3
B7-A-03-04 Bed | B7000035 | 100 | 3.1 | 58 | 7 | 1 & 2 & 3
B7-A-03-04 Bed | B7000037 | 100 | 2.7 | 54 | 7 | 2 & 3
B7-A-03-04 Living/Kitchen | B7000039 | 100 | 2.4 | 34 | 5 | 2 & 3
B7-A-03-04 Bed | B700003B | 100 | 2.4 | 46 | 5 | 2 & 3
B7-A-03-H4 Bed | B700003E | 100 | 2.9 | 56 | 7 | 2 & 3
B7-A-04 Circulation | B700003F | 100 | 8.5 | 116 | 9 | 1 & 2 & 3
B7-A-04-02 Bed | B7000041 | 100 | 2.3 | 48 | 5 | 2 & 3
B7-A-04-03 Bed | B7000044 | 100 | 3.3 | 62 | 7 | 1 & 2 & 3
B7-A-04-03 Bed | B7000045 | 100 | 2.2 | 48 | 7 | 2 & 3
B7-A-04-03 Living | B7000049 | 100 | 2.7 | 34 | 5 | 2 & 3
B7-A-04-04 Bed | B700004A | 100 | 3 | 57 | 7 | 1 & 2 & 3
B7-A-04-04 Bed | B700004C | 100 | 2.7 | 54 | 7 | 2 & 3
B7-A-04-04 Living/Kitchen | B700004E | 100 | 2.8 | 37 | 5 | 2 & 3
B7-A-04-04 Bed | B7000050 | 100 | 2.3 | 46 | 5 | 2 & 3
B7-A-04-01 Bed | B7000054 | 100 | 1.5 | 33 | 5 | 2 & 3
B7-A-04-01 Living | B7000056 | 100 | 2.5 | 33 | 5 | 2 & 3
B7-A-04-01 Bed | B7000057 | 100 | 1.8 | 40 | 5 | 2 & 3
B7-A-05 Circulation | B7000058 | 100 | 8.5 | 117 | 9 | 1 & 2 & 3
B7-A-05-01 Bed | B7000059 | 100 | 1.8 | 39 | 5 | 2 & 3
B7-A-05-01 Kitchen | B700005B | 100 | 3.1 | 25 | 5 | 1 & 2 & 3
B7-A-05-01 Bed | B700005E | 100 | 2.4 | 49 | 6 | 2 & 3
B7-A-05-01 Living | B700005F | 100 | 3.2 | 38 | 5 | 1 & 2 & 3
B7-A-05-01 Bed | B7000060 | 100 | 2.2 | 44 | 5 | 2 & 3
B7-A-05-02 Bed | B7000062 | 100 | 2.4 | 50 | 6 | 2 & 3
B7-A-05-02 Bath | B7000064 | 100 | 1.9 | 48 | 5 | 2 & 3
B7-A-05-03 Bed | B7000065 | 100 | 3.3 | 62 | 7 | 1 & 2 & 3
B7-A-05-03 Kitchen/Living | B7000067 | 100 | 2.4 | 33 | 5 | 2 & 3
B7-A-05-03 Bed | B7000068 | 100 | 2.3 | 47 | 7 | 2 & 3
B7-A-06 Circulation | B700006A | 100 | 8.4 | 115 | 9 | 1 & 2 & 3
B7-A-06-01 Bed | B700006B | 100 | 1.9 | 39 | 5 | 2 & 3
B7-A-06-01 Kitchen | B700006D | 100 | 3.2 | 28 | 5 | 1 & 2 & 3
B7-A-06-01 Bed | B7000070 | 100 | 2.6 | 51 | 6 | 2 & 3
B7-A-06-01 Living | B7000071 | 100 | 3.3 | 40 | 6 | 1 & 2 & 3
B7-A-06-01 Bed | B7000072 | 100 | 2.3 | 45 | 5 | 2 & 3
B7-A-06-02 Bed | B7000074 | 100 | 2.5 | 52 | 6 | 2 & 3
B7-A-06-02 Bath | B7000076 | 100 | 1.9 | 47 | 5 | 2 & 3
B7-A-06-03 Bed | B7000077 | 100 | 3.3 | 62 | 7 | 1 & 2 & 3
B7-A-06-03 Bed | B7000078 | 100 | 2.2 | 46 | 6 | 2 & 3
B7-A-07 Circulation | B700007C | 100 | 8.6 | 118 | 9 | 1 & 2 & 3
B7-A-07-01 Bed | B700007D | 100 | 1.9 | 39 | 5 | 2 & 3
B7-A-07-01 Kitchen | B700007F | 100 | 3.2 | 29 | 5 | 1 & 2 & 3
B7-A-07-01 Bed | B7000082 | 100 | 2.6 | 51 | 6 | 2 & 3
B7-A-07-01 Living | B7000083 | 100 | 3.3 | 40 | 6 | 1 & 2 & 3
B7-A-07-01 Bed | B7000084 | 100 | 2.3 | 45 | 5 | 2 & 3
B7-A-07-02 Bed | B7000086 | 100 | 2.6 | 52 | 6 | 2 & 3
B7-A-07-02 Bath | B7000088 | 100 | 2 | 47 | 5 | 2 & 3
B7-A-07-03 Bed | B7000089 | 100 | 3.3 | 62 | 7 | 1 & 2 & 3
B7-A-07-03 Bed | B700008A | 100 | 2.2 | 47 | 6 | 2 & 3
B7-A-07-03 Living/Kitchen | B700008B | 100 | 2.4 | 32 | 5 | 2 & 3
B7-A-08 Circulation | B700008E | 100 | 9.2 | 123 | 9 | 1 & 2 & 3
B7-A-08-01 Bed | B700008F | 100 | 2 | 40 | 6 | 2 & 3
B7-A-08-01 Kitchen | B7000091 | 100 | 3.2 | 29 | 5 | 1 & 2 & 3
B7-A-08-01 Bed | B7000094 | 100 | 2.6 | 51 | 6 | 2 & 3
B7-A-08-01 Living | B7000095 | 100 | 3.3 | 40 | 6 | 1 & 2 & 3
B7-A-08-01 Bed | B7000096 | 100 | 2.3 | 45 | 5 | 2 & 3
B7-A-08-02 Bath | B7000097 | 100 | 1.9 | 47 | 5 | 2 & 3
B7-A-08-02 Bed | B7000098 | 100 | 3.1 | 57 | 7 | 1 & 2 & 3
B7-A-08-02 Bed | B7000099 | 100 | 2.5 | 48 | 6 | 2 & 3
B7-A-08-02 Living/Kitchen | B700009A | 100 | 2.9 | 37 | 5 | 2 & 3
B7-A-09 Circulation | B700009C | 100 | 9.1 | 122 | 9 | 1 & 2 & 3
B7-A-09-01 Bed | B700009D | 100 | 2 | 40 | 6 | 2 & 3
B7-A-09-01 Kitchen | B700009F | 100 | 3.2 | 29 | 5 | 1 & 2 & 3
B7-A-09-01 Bed | B70000A2 | 100 | 2.5 | 51 | 6 | 2 & 3
B7-A-09-01 Living | B70000A3 | 100 | 3.3 | 39 | 6 | 1 & 2 & 3
B7-A-09-01 Bed | B70000A4 | 100 | 2.3 | 45 | 5 | 2 & 3
B7-A-09-02 Bath | B70000A5 | 100 | 1.9 | 47 | 5 | 2 & 3
B7-A-09-02 Bed | B70000A6 | 100 | 2.9 | 57 | 7 | 2 & 3
B7-A-09-02 Bed | B70000A7 | 100 | 2.5 | 48 | 6 | 2 & 3
B7-A-09-02 Living/Kitchen | B70000A8 | 100 | 3.1 | 37 | 5 | 1 & 2 & 3
B7-A-10 Circulation | B70000AA | 100 | 9.1 | 122 | 9 | 1 & 2 & 3
B7-A-10-01 Bed | B70000AB | 100 | 2 | 40 | 6 | 2 & 3
B7-A-10-01 Kitchen | B70000AD | 100 | 3.2 | 28 | 5 | 1 & 2 & 3
B7-A-10-01 Bed | B70000B0 | 100 | 2.5 | 50 | 6 | 2 & 3
B7-A-10-01 Living | B70000B1 | 100 | 3.2 | 38 | 6 | 1 & 2 & 3
B7-A-10-01 Bed | B70000B2 | 100 | 2.3 | 45 | 5 | 2 & 3
B7-A-10-02 Bath | B70000B3 | 100 | 1.9 | 46 | 5 | 2 & 3
B7-A-10-02 Bed | B70000B4 | 100 | 2.9 | 56 | 7 | 2 & 3
B7-A-10-02 Bed | B70000B5 | 100 | 2.5 | 48 | 6 | 2 & 3
B7-A-10-02 Living/Kitchen | B70000B6 | 100 | 3.1 | 37 | 5 | 1 & 2 & 3
B7-A-11 Circulation | B70000B8 | 100 | 9.2 | 122 | 9 | 1 & 2 & 3
B7-A-11-01 Bed | B70000B9 | 100 | 2 | 40 | 6 | 2 & 3
B7-A-11-01 Kitchen | B70000BB | 100 | 3.1 | 28 | 5 | 1 & 2 & 3
B7-A-11-01 Bed | B70000BE | 100 | 2.5 | 50 | 6 | 2 & 3
B7-A-11-01 Living | B70000BF | 100 | 3.2 | 38 | 6 | 1 & 2 & 3
B7-A-11-01 Bed | B70000C0 | 100 | 2.2 | 44 | 5 | 2 & 3
B7-A-11-02 Bath | B70000C1 | 100 | 1.9 | 47 | 5 | 2 & 3
B7-A-11-02 Bed | B70000C2 | 100 | 2.9 | 57 | 7 | 2 & 3
B7-A-11-02 Bed | B70000C3 | 100 | 2.5 | 48 | 6 | 2 & 3
B7-A-11-02 Living/Kitchen | B70000C4 | 100 | 3.1 | 37 | 5 | 1 & 2 & 3
B7-A-12 Circulation | B70000C6 | 100 | 9.7 | 129 | 9 | 1 & 2 & 3
B7-A-12-01 Bed | B70000C7 | 100 | 2 | 39 | 5 | 2 & 3
B7-A-12-01 Kitchen | B70000C9 | 100 | 3.1 | 28 | 5 | 1 & 2 & 3
B7-A-12-01 Bed | B70000CC | 100 | 2.5 | 50 | 6 | 2 & 3
B7-A-12-01 Living | B70000CD | 100 | 3.3 | 39 | 6 | 1 & 2 & 3
B7-A-12-01 Bed | B70000CE | 100 | 2.2 | 43 | 5 | 2 & 3
B7-A-12-02 Bath | B70000CF | 100 | 2 | 48 | 5 | 2 & 3
B7-A-12-02 Bed | B70000D0 | 100 | 3.1 | 62 | 7 | 1 & 2 & 3
B7-A-12-02 Bed | B70000D1 | 100 | 2.3 | 48 | 6 | 2 & 3
B7-A-12-02 Living/Kitchen | B70000D2 | 100 | 2.8 | 37 | 5 | 2 & 3
B7-A-13 Circulation | B70000D4 | 100 | 13.3 | 142 | 9 | 1 & 2 & 3
B7-A-13-01 Bed | B70000D5 | 100 | 1.9 | 37 | 5 | 2 & 3
B7-A-13-01 Kitchen | B70000D7 | 100 | 3 | 25 | 5 | 2 & 3
B7-A-13-01 Bed | B70000DA | 100 | 2.3 | 48 | 6 | 2 & 3
B7-A-13-01 Living | B70000DB | 100 | 3.3 | 40 | 6 | 1 & 2 & 3
B7-A-13-01 Bed | B70000DC | 100 | 2.1 | 42 | 5 | 2 & 3
B7-A-01 Circulation | B70000DD | 100 | 8.7 | 115 | 8 | 1 & 2 & 3
B7-A-01-02 Bed | B70000E6 | 100 | 4.2 | 74 | 6 | 1 & 2 & 3
B7-A-01-03 Bed | B70000E9 | 100 | 2.9 | 53 | 6 | 2 & 3
B7-A-01-04 Bed | B70000EE | 100 | 2 | 39 | 5 | 2 & 3
B7-A-01-H1 Bed | B70000F2 | 100 | 2.3 | 46 | 6 | 2 & 3
B7-A-01-H1 Study/Bed | B70000F5 | 100 | 2.4 | 46 | 6 | 2 & 3
B7-A-01-H2 Bed | B70000F7 | 100 | 2.6 | 50 | 6 | 2 & 3
B7-A-01-H2 Study/Bed | B70000FA | 100 | 2.8 | 50 | 6 | 2 & 3
B7-A-01-H3 Study/Bed | B70000FC | 100 | 2.8 | 53 | 7 | 2 & 3
B7-A-01-H3 Bed | B70000FF | 100 | 3 | 54 | 7 | 2 & 3
B7-A-01-H4 Bed | B7000101 | 100 | 2.7 | 51 | 6 | 2 & 3
B7-A-01-H4 Study/Bed | B7000102 | 100 | 2.6 | 50 | 6 | 2 & 3
B7-A-00 Circulation | B7000104 | 100 | 9.1 | 112 | 8 | 1 & 2 & 3
B7-A-00 Circulation | B7000105 | 100 | 8.3 | 106 | 8 | 1 & 2 & 3
B7-A-00-01 Lobby | B7000107 | 100 | 7.7 | 106 | 8 | 1 & 2 & 3
B7-A-00-01 Bed | B7000109 | 100 | 3.1 | 54 | 6 | 1 & 2 & 3
B7-A-00-H1 Bed | B700010F | 100 | 2.6 | 49 | 6 | 2 & 3
B7-A-00-H2 Bed | B7000112 | 100 | 2.5 | 49 | 6 | 2 & 3
B7-A-00-H2 Bed | B7000114 | 100 | 2.9 | 54 | 6 | 2 & 3
B7-A-00-H3 Bed | B7000116 | 100 | 3.1 | 59 | 7 | 1 & 2 & 3
B7-A-00-H3 Bed | B7000117 | 100 | 3.2 | 59 | 7 | 1 & 2 & 3
B7-A-00-H4 Bed | B700011C | 100 | 2.4 | 45 | 5 | 2 & 3
B7-A-00-H4 Bed | B700011D | 100 | 2.9 | 54 | 6 | 2 & 3
B7-A-02-H1 Living | B7000001 | 100 | 3 | 37 | 5 | 1 & 2 & 3
B7-A-02-H1 Kitchen | B700011E | 100 | 2.6 | 36 | 5 | 2 & 3
B7-A-02-H2 Living | B7000002 | 100 | 3.5 | 41 | 6 | 1 & 2 & 3
B7-A-02-H2 Kitchen | B7000120 | 100 | 3 | 40 | 5 | 2 & 3
Unoccupied: | 37 rooms:
Room Name | Room ID | Occupied days (%) | Criteria 1 (%Hrs Top-Tmax>=1K) | Criteria 2 (Max. Daily Deg.Hrs) | Criteria 3 (Max. DeltaT) | Criteria failing
Lift/Riser | LF000009 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000A | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000B | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000C | 0 | 0 | 0 | 0 | -
B7-A-02-01 | B7000009 | 0 | 0 | 0 | 0 | -
B7-A-02-02 Cupd | B700000E | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000D | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000E | 0 | 0 | 0 | 0 | -
B7-A-04-01 Cupd | B7000053 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000F | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000010 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000011 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000012 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000013 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000014 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000015 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000016 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000017 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000018 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000019 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001A | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001B | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001C | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001D | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001E | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001F | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000020 | 0 | 0 | 0 | 0 | -
Riser/Lifts | RS0000B1 | 0 | 0 | 0 | 0 | -
Riser/Lifts | RS0000B2 | 0 | 0 | 0 | 0 | -
B7-A-01 Void | B70000DE | 0 | 0 | 0 | 0 | -
B7-A-01-H1 Cupd | B70000F6 | 0 | 0 | 0 | 0 | -
B7-A-01-H2 Cupd | B70000FB | 0 | 0 | 0 | 0 | -
Riser/Lifts | RS0000B3 | 0 | 0 | 0 | 0 | -
Riser/Lifts | RS0000B4 | 0 | 0 | 0 | 0 | -
B7-A-00 Bins/Bikes | B7000106 | 0 | 0 | 0 | 0 | -
NR Access Zone | NR000000 | 0 | 0 | 0 | 0 | -
B7-A-00 Bike Store | B7000108 | 0 | 0 | 0 | 0 | -

## BEDROOM DSY2
Weather file: | London_LWC_DSY2_2020High50.epw
1. In addition, the bedrooms must also not have >1% of occupied hours where internal temp>26degC (between the hours of 10pm-7am)
>33 HOURS IS A FAIL
BEDROOM IS FAILING
Air temperature (°C) - hours in range
Location | > 26.00 | PASS/FAIL
B7-A-05-02 Bed | 83 | FAIL

## TM52 DSY3
Overall
Passed: | 142 rooms:
Failed: | 140 rooms:
Unoccupied: | 37 rooms:
Data:
Building category: | Category II (new builds.)
Weather file: | London_LWC_DSY3_2020High50.epw
Days data= | 153 | 2019-05-01 | 2019-09-30
Days (summer)= | 153 | 2019-05-01 | 2019-09-30
Data OK? | OK | Full summer
Occupancy:
Note: | This report assesses occupied periods only. Please be aware that TM52 should be conducted for occupied and/or “available hours”.
Use of educational NCM profiles may be seen as inappropriate due to prolonged unoccupied periods during summer months.
See Section 6.1.2 (a) of TM52 for further information.
Passed: | 142 rooms:
Room Name | Room ID | Occupied days (%) | Criteria 1 (%Hrs Top-Tmax>=1K) | Criteria 2 (Max. Daily Deg.Hrs) | Criteria 3 (Max. DeltaT) | Criteria failing
B7-A-02-01 Bed | B7000004 | 100 | 1.5 | 34 | 4 | 2
B7-A-02-01 Circulation | B7000005 | 100 | 0.9 | 14 | 2 | 2
B7-A-02-01 Bed | B7000006 | 100 | 1.8 | 38 | 4 | 2
B7-A-02-01 Living | B7000007 | 100 | 2.5 | 29 | 4 | 2
B7-A-02-01 Bed | B7000008 | 100 | 1.8 | 36 | 4 | 2
B7-A-02-01 WC | B700000B | 100 | 0.7 | 10 | 2 | 2
B7-A-02-02 Living | B700000C | 100 | 2 | 22 | 3 | 2
B7-A-02-02 Kitchen | B700000D | 100 | 2.5 | 29 | 4 | 2
B7-A-02-02 Circulation | B700000F | 100 | 1 | 17 | 2 | 2
B7-A-02-02 Bath | B7000010 | 100 | 1.8 | 33 | 4 | 2
B7-A-02-03 Circulation | B7000013 | 100 | 1.9 | 35 | 4 | 2
B7-A-02-03 Bath | B7000014 | 100 | 1.1 | 18 | 2 | 2
B7-A-02-04 Living/Kitchen | B7000016 | 100 | 2.5 | 30 | 4 | 2
B7-A-02-04 Bath | B7000017 | 100 | 1 | 15 | 2 | 2
B7-A-02-04 Circulation | B7000019 | 100 | 1 | 16 | 2 | 2
B7-A-02-05 Circulation | B700001B | 100 | 1.1 | 18 | 2 | 2
B7-A-02-H3 Circulation | B700001F | 100 | 1.4 | 23 | 3 | 2
B7-A-02-H4 Circulation | B7000022 | 100 | 1.1 | 26 | 3 | 2
B7-A-03-01 Bed | B7000023 | 100 | 1.7 | 39 | 4 | 2
B7-A-03-01 Bath | B7000024 | 100 | 0.7 | 9 | 2 | 2
B7-A-03-01 WC | B7000026 | 100 | 0.7 | 13 | 2 | 2
B7-A-03-01 Circulation | B7000027 | 100 | 1 | 16 | 2 | 2
B7-A-03-01 Bed | B7000028 | 100 | 1.9 | 41 | 4 | 2
B7-A-03-01 Living | B7000029 | 100 | 2.6 | 30 | 4 | 2
B7-A-03-01 Bed | B700002A | 100 | 1.9 | 41 | 4 | 2
B7-A-03-02 Living/Kitchen | B700002B | 100 | 1.9 | 21 | 3 | 2
B7-A-03-02 Circulation | B700002D | 100 | 1.3 | 21 | 2 | 2
B7-A-03-02 Bath | B700002E | 100 | 1.8 | 34 | 4 | 2
B7-A-03-03 Circulation | B7000031 | 100 | 1.7 | 34 | 3 | 2
B7-A-03-03 Bath | B7000032 | 100 | 1.1 | 19 | 3 | 2
B7-A-03-03 Kitchen | B7000033 | 100 | 2.3 | 29 | 4 | 2
B7-A-03-04 Bath | B7000036 | 100 | 0.6 | 8 | 1 | 2
B7-A-03-04 Circulation | B7000038 | 100 | 0.6 | 8 | 1 | 2
B7-A-03-04 WC | B700003A | 100 | 1 | 15 | 2 | 2
B7-A-03-H4 Bath | B700003C | 100 | 1.3 | 24 | 3 | 2
B7-A-03-H4 Circulation | B700003D | 100 | 1.3 | 22 | 2 | 2
B7-A-04-02 Living/Kitchen | B7000040 | 100 | 2 | 22 | 3 | 2
B7-A-04-02 Circulation | B7000042 | 100 | 1.3 | 21 | 3 | 2
B7-A-04-02 Bath | B7000043 | 100 | 2 | 37 | 4 | 2
B7-A-04-03 Circulation | B7000046 | 100 | 1.7 | 34 | 4 | 2
B7-A-04-03 Bath | B7000047 | 100 | 1.1 | 19 | 3 | 2
B7-A-04-03 Kitchen | B7000048 | 100 | 2.1 | 28 | 4 | 2
B7-A-04-04 Bath | B700004B | 100 | 0.7 | 8 | 1 | 2
B7-A-04-04 Circulation | B700004D | 100 | 0.6 | 8 | 1 | 2
B7-A-04-04 WC | B700004F | 100 | 1 | 15 | 2 | 2
B7-A-04-01 Kitchen | B7000051 | 100 | 0.8 | 8 | 2 | 2
B7-A-04-01 Bath | B7000052 | 100 | 0.6 | 7 | 1 | 2
B7-A-04-01 Bed | B7000054 | 100 | 1.7 | 39 | 4 | 2
B7-A-04-01 Circulation | B7000055 | 100 | 0.9 | 15 | 2 | 2
B7-A-04-01 Bed | B7000057 | 100 | 1.7 | 37 | 4 | 2
B7-A-05-01 Bath | B700005A | 100 | 0.8 | 14 | 2 | 2
B7-A-05-01 WC | B700005C | 100 | 0.8 | 14 | 2 | 2
B7-A-05-01 Circulation | B700005D | 100 | 1.1 | 19 | 3 | 2
B7-A-05-02 Living/Kitchen | B7000061 | 100 | 2.2 | 26 | 4 | 2
B7-A-05-02 Circulation | B7000063 | 100 | 1.3 | 24 | 3 | 2
B7-A-05-02 Bath | B7000064 | 100 | 2 | 37 | 4 | 2
B7-A-05-03 Bath | B7000066 | 100 | 1.1 | 17 | 2 | 2
B7-A-05-03 Circulation | B7000069 | 100 | 1.9 | 36 | 4 | 2
B7-A-06-01 Bath | B700006C | 100 | 0.9 | 15 | 2 | 2
B7-A-06-01 WC | B700006E | 100 | 0.8 | 15 | 2 | 2
B7-A-06-01 Circulation | B700006F | 100 | 1.2 | 21 | 3 | 2
B7-A-06-02 Living/Kitchen | B7000073 | 100 | 2.4 | 29 | 4 | 2
B7-A-06-02 Circulation | B7000075 | 100 | 1.4 | 25 | 3 | 2
B7-A-06-02 Bath | B7000076 | 100 | 2.1 | 38 | 4 | 2
B7-A-06-03 Living/Kitchen | B7000079 | 100 | 2.4 | 27 | 4 | 2
B7-A-06-03 Circulation | B700007A | 100 | 1.4 | 26 | 3 | 2
B7-A-06-03 Bath | B700007B | 100 | 0.8 | 12 | 2 | 2
B7-A-07-01 Bath | B700007E | 100 | 1 | 15 | 2 | 2
B7-A-07-01 WC | B7000080 | 100 | 0.9 | 16 | 3 | 2
B7-A-07-01 Circulation | B7000081 | 100 | 1.2 | 22 | 3 | 2
B7-A-07-02 Living/Kitchen | B7000085 | 100 | 2.5 | 31 | 4 | 2
B7-A-07-02 Circulation | B7000087 | 100 | 1.4 | 27 | 3 | 2
B7-A-07-02 Bath | B7000088 | 100 | 2.3 | 39 | 4 | 2
B7-A-07-03 Circulation | B700008C | 100 | 1.4 | 29 | 3 | 2
B7-A-07-03 Bath | B700008D | 100 | 1 | 16 | 2 | 2
B7-A-08-01 Bath | B7000090 | 100 | 1 | 17 | 2 | 2
B7-A-08-01 WC | B7000092 | 100 | 1 | 18 | 3 | 2
B7-A-08-01 Circulation | B7000093 | 100 | 1.2 | 22 | 3 | 2
B7-A-08-02 Bath | B7000097 | 100 | 2.1 | 38 | 4 | 2
B7-A-08-02 Circulation | B700009B | 100 | 1.5 | 30 | 3 | 2
B7-A-09-01 Bath | B700009E | 100 | 1 | 17 | 2 | 2
B7-A-09-01 WC | B70000A0 | 100 | 1 | 18 | 3 | 2
B7-A-09-01 Circulation | B70000A1 | 100 | 1.2 | 22 | 3 | 2
B7-A-09-02 Bath | B70000A5 | 100 | 2 | 35 | 4 | 2
B7-A-09-02 Circulation | B70000A9 | 100 | 1.5 | 29 | 3 | 2
B7-A-10-01 Bath | B70000AC | 100 | 1 | 17 | 2 | 2
B7-A-10-01 WC | B70000AE | 100 | 1 | 18 | 3 | 2
B7-A-10-01 Circulation | B70000AF | 100 | 1.2 | 22 | 3 | 2
B7-A-10-02 Bath | B70000B3 | 100 | 1.9 | 35 | 4 | 2
B7-A-10-02 Circulation | B70000B7 | 100 | 1.4 | 28 | 3 | 2
B7-A-11-01 Bath | B70000BA | 100 | 1 | 17 | 2 | 2
B7-A-11-01 WC | B70000BC | 100 | 1 | 18 | 3 | 2
B7-A-11-01 Circulation | B70000BD | 100 | 1.2 | 22 | 3 | 2
B7-A-11-02 Bath | B70000C1 | 100 | 2 | 35 | 4 | 2
B7-A-11-02 Circulation | B70000C5 | 100 | 1.4 | 28 | 3 | 2
B7-A-12-01 Bath | B70000C8 | 100 | 1 | 16 | 2 | 2
B7-A-12-01 WC | B70000CA | 100 | 0.9 | 18 | 3 | 2
B7-A-12-01 Circulation | B70000CB | 100 | 1.2 | 22 | 3 | 2
B7-A-12-02 Bath | B70000CF | 100 | 2.2 | 39 | 4 | 2
B7-A-12-02 Circulation | B70000D3 | 100 | 1.4 | 28 | 3 | 2
B7-A-13-01 Bath | B70000D6 | 100 | 0.7 | 9 | 2 | 2
B7-A-13-01 WC | B70000D8 | 100 | 0.7 | 11 | 2 | 2
B7-A-13-01 Circulation | B70000D9 | 100 | 1.1 | 20 | 3 | 2
B7-A-01-01 Living/Kitchen | B70000DF | 100 | 1.1 | 10 | 2 | 2
B7-A-01-01 Circulation | B70000E0 | 100 | 0 | 0 | 0 | -
B7-A-01-01 WC | B70000E1 | 100 | 0 | 0 | 0 | -
B7-A-01-01 Bath | B70000E2 | 100 | 0 | 0 | 0 | -
B7-A-01-01 Bed | B70000E3 | 100 | 1.2 | 24 | 3 | 2
B7-A-01-01 Bed | B70000E4 | 100 | 1.4 | 26 | 3 | 2
B7-A-01-02 Bed | B70000E5 | 100 | 1.4 | 28 | 3 | 2
B7-A-01-02 Circulation | B70000E7 | 100 | 1.1 | 17 | 2 | 2
B7-A-01-02 Bath | B70000E8 | 100 | 0.8 | 13 | 2 | 2
B7-A-01-03 Living/Kitchen | B70000EA | 100 | 1.4 | 12 | 3 | 2
B7-A-01-03 Circulation | B70000EB | 100 | 1.1 | 19 | 2 | 2
B7-A-01-03 Bath | B70000EC | 100 | 0.7 | 11 | 2 | 2
B7-A-01-03 Bed | B70000ED | 100 | 1.9 | 37 | 4 | 2
B7-A-01-04 Bed | B70000EF | 100 | 1.8 | 33 | 4 | 2
B7-A-01-04 Bath | B70000F0 | 100 | 1.1 | 19 | 3 | 2
B7-A-01-04 Circulation | B70000F1 | 100 | 0.5 | 6 | 1 | -
B7-A-01-H1 Circulation | B70000F3 | 100 | 1.1 | 18 | 2 | 2
B7-A-01-H1 Bath | B70000F4 | 100 | 1 | 16 | 2 | 2
B7-A-01-H2 Circulation | B70000F8 | 100 | 1.3 | 23 | 3 | 2
B7-A-01-H2 Bath | B70000F9 | 100 | 1.1 | 19 | 2 | 2
B7-A-01-H3 Bath | B70000FD | 100 | 1.2 | 22 | 3 | 2
B7-A-01-H3 Circulation | B70000FE | 100 | 1.3 | 25 | 3 | 2
B7-A-01-H4 Circulation | B7000100 | 100 | 1.1 | 19 | 3 | 2
B7-A-01-H4 Bath | B7000103 | 100 | 1.3 | 26 | 3 | 2
B7-A-00-01 Living/Kitchen | B700010A | 100 | 1.2 | 11 | 2 | 2
B7-A-00-01 Circulation | B700010B | 100 | 0.8 | 16 | 2 | 2
B7-A-00-01 Bath | B700010C | 100 | 0.5 | 8 | 1 | 2
B7-A-00-01 Bed | B700010D | 100 | 2.1 | 31 | 3 | 2
B7-A-00-H1 Bed | B700010E | 100 | 2.1 | 38 | 4 | 2
B7-A-00-H1 Bath | B7000110 | 100 | 0.8 | 11 | 2 | 2
B7-A-00-H1 Circulation | B7000111 | 100 | 1.1 | 19 | 2 | 2
B7-A-00-H2 Bath | B7000113 | 100 | 1 | 16 | 2 | 2
B7-A-00-H2 Circulation | B7000115 | 100 | 1.3 | 22 | 3 | 2
B7-A-00-H3 Circulation | B7000118 | 100 | 1.5 | 24 | 3 | 2
B7-A-00-H3 Bath | B7000119 | 100 | 1 | 17 | 2 | 2
B7-A-00-H4 Circulation | B700011A | 100 | 0.6 | 8 | 1 | 2
B7-A-00-H4 Bath | B700011B | 100 | 0.6 | 8 | 1 | 2
B7-A-02-H1 Circulation | B700011F | 100 | 1.3 | 28 | 3 | 2
B7-A-02-H2 Circulation | B7000121 | 100 | 1.4 | 33 | 4 | 2
Failed: | 140 rooms:
Room Name | Room ID | Occupied days (%) | Criteria 1 (%Hrs Top-Tmax>=1K) | Criteria 2 (Max. Daily Deg.Hrs) | Criteria 3 (Max. DeltaT) | Criteria failing
B7-A-02 Circulation | B7000000 | 100 | 9.5 | 94 | 7 | 1 & 2 & 3
B7-A-03 Circulation | B7000003 | 100 | 9.6 | 95 | 7 | 1 & 2 & 3
B7-A-02-01 Kitchen | B700000A | 100 | 2.8 | 26 | 5 | 2 & 3
B7-A-02-03 Bed | B7000011 | 100 | 3.2 | 58 | 6 | 1 & 2 & 3
B7-A-02-03 Bed | B7000012 | 100 | 2.8 | 51 | 6 | 2 & 3
B7-A-02-03 Living/Kitchen | B7000015 | 100 | 2.7 | 31 | 5 | 2 & 3
B7-A-02-04 Bed | B7000018 | 100 | 2.3 | 43 | 5 | 2 & 3
B7-A-02-05 Living/Kitchen | B700001A | 100 | 2.9 | 35 | 5 | 2 & 3
B7-A-02-05 Bath | B700001C | 100 | 2 | 42 | 5 | 2 & 3
B7-A-02-05 Bed | B700001D | 100 | 2.6 | 50 | 5 | 2 & 3
B7-A-02-H3 Living | B700001E | 100 | 4.5 | 46 | 6 | 1 & 2 & 3
B7-A-02-H3 Kitchen | B7000020 | 100 | 4.1 | 45 | 6 | 1 & 2 & 3
B7-A-02-H4 Living/Kitchen | B7000021 | 100 | 4 | 42 | 6 | 1 & 2 & 3
B7-A-03-01 Kitchen | B7000025 | 100 | 2.9 | 28 | 5 | 2 & 3
B7-A-03-02 Bed | B700002C | 100 | 2.3 | 45 | 5 | 2 & 3
B7-A-03-03 Bed | B700002F | 100 | 3.3 | 61 | 6 | 1 & 2 & 3
B7-A-03-03 Bed | B7000030 | 100 | 2.7 | 51 | 6 | 2 & 3
B7-A-03-03 Living | B7000034 | 100 | 3.2 | 38 | 5 | 1 & 2 & 3
B7-A-03-04 Bed | B7000035 | 100 | 3.2 | 57 | 6 | 1 & 2 & 3
B7-A-03-04 Bed | B7000037 | 100 | 3.1 | 56 | 6 | 1 & 2 & 3
B7-A-03-04 Living/Kitchen | B7000039 | 100 | 2.6 | 30 | 5 | 2 & 3
B7-A-03-04 Bed | B700003B | 100 | 2.5 | 48 | 5 | 2 & 3
B7-A-03-H4 Bed | B700003E | 100 | 3.1 | 56 | 6 | 1 & 2 & 3
B7-A-04 Circulation | B700003F | 100 | 9.7 | 95 | 7 | 1 & 2 & 3
B7-A-04-02 Bed | B7000041 | 100 | 2.5 | 49 | 5 | 2 & 3
B7-A-04-03 Bed | B7000044 | 100 | 3.4 | 63 | 6 | 1 & 2 & 3
B7-A-04-03 Bed | B7000045 | 100 | 2.7 | 52 | 6 | 2 & 3
B7-A-04-03 Living | B7000049 | 100 | 3.2 | 37 | 5 | 1 & 2 & 3
B7-A-04-04 Bed | B700004A | 100 | 3.2 | 59 | 6 | 1 & 2 & 3
B7-A-04-04 Bed | B700004C | 100 | 3.1 | 56 | 6 | 1 & 2 & 3
B7-A-04-04 Living/Kitchen | B700004E | 100 | 3.2 | 36 | 5 | 1 & 2 & 3
B7-A-04-04 Bed | B7000050 | 100 | 2.5 | 48 | 5 | 2 & 3
B7-A-04-01 Living | B7000056 | 100 | 2.9 | 34 | 5 | 2 & 3
B7-A-05 Circulation | B7000058 | 100 | 9.7 | 95 | 7 | 1 & 2 & 3
B7-A-05-01 Bed | B7000059 | 100 | 2.1 | 43 | 5 | 2 & 3
B7-A-05-01 Kitchen | B700005B | 100 | 3.2 | 29 | 5 | 1 & 2 & 3
B7-A-05-01 Bed | B700005E | 100 | 2.3 | 46 | 5 | 2 & 3
B7-A-05-01 Living | B700005F | 100 | 3.4 | 38 | 5 | 1 & 2 & 3
B7-A-05-01 Bed | B7000060 | 100 | 2.2 | 45 | 5 | 2 & 3
B7-A-05-02 Bed | B7000062 | 100 | 2.7 | 51 | 5 | 2 & 3
B7-A-05-03 Bed | B7000065 | 100 | 3.4 | 63 | 6 | 1 & 2 & 3
B7-A-05-03 Kitchen/Living | B7000067 | 100 | 2.6 | 30 | 5 | 2 & 3
B7-A-05-03 Bed | B7000068 | 100 | 2.8 | 50 | 6 | 2 & 3
B7-A-06 Circulation | B700006A | 100 | 9.5 | 95 | 7 | 1 & 2 & 3
B7-A-06-01 Bed | B700006B | 100 | 2.1 | 44 | 5 | 2 & 3
B7-A-06-01 Kitchen | B700006D | 100 | 3.1 | 30 | 5 | 1 & 2 & 3
B7-A-06-01 Bed | B7000070 | 100 | 2.3 | 46 | 5 | 2 & 3
B7-A-06-01 Living | B7000071 | 100 | 3.5 | 38 | 5 | 1 & 2 & 3
B7-A-06-01 Bed | B7000072 | 100 | 2.2 | 47 | 5 | 2 & 3
B7-A-06-02 Bed | B7000074 | 100 | 2.7 | 49 | 5 | 2 & 3
B7-A-06-03 Bed | B7000077 | 100 | 3.4 | 62 | 6 | 1 & 2 & 3
B7-A-06-03 Bed | B7000078 | 100 | 2.6 | 49 | 6 | 2 & 3
B7-A-07 Circulation | B700007C | 100 | 9.7 | 96 | 7 | 1 & 2 & 3
B7-A-07-01 Bed | B700007D | 100 | 2.1 | 44 | 5 | 2 & 3
B7-A-07-01 Kitchen | B700007F | 100 | 3.3 | 32 | 6 | 1 & 2 & 3
B7-A-07-01 Bed | B7000082 | 100 | 2.3 | 46 | 5 | 2 & 3
B7-A-07-01 Living | B7000083 | 100 | 3.5 | 38 | 5 | 1 & 2 & 3
B7-A-07-01 Bed | B7000084 | 100 | 2.2 | 47 | 5 | 2 & 3
B7-A-07-02 Bed | B7000086 | 100 | 2.7 | 50 | 5 | 2 & 3
B7-A-07-03 Bed | B7000089 | 100 | 3.3 | 61 | 6 | 1 & 2 & 3
B7-A-07-03 Bed | B700008A | 100 | 2.7 | 49 | 6 | 2 & 3
B7-A-07-03 Living/Kitchen | B700008B | 100 | 2.7 | 32 | 5 | 2 & 3
B7-A-08 Circulation | B700008E | 100 | 10.6 | 104 | 8 | 1 & 2 & 3
B7-A-08-01 Bed | B700008F | 100 | 2.2 | 45 | 5 | 2 & 3
B7-A-08-01 Kitchen | B7000091 | 100 | 3.3 | 32 | 6 | 1 & 2 & 3
B7-A-08-01 Bed | B7000094 | 100 | 2.3 | 46 | 5 | 2 & 3
B7-A-08-01 Living | B7000095 | 100 | 3.5 | 38 | 5 | 1 & 2 & 3
B7-A-08-01 Bed | B7000096 | 100 | 2.2 | 46 | 5 | 2 & 3
B7-A-08-02 Bed | B7000098 | 100 | 3.3 | 58 | 6 | 1 & 2 & 3
B7-A-08-02 Bed | B7000099 | 100 | 2.6 | 51 | 5 | 2 & 3
B7-A-08-02 Living/Kitchen | B700009A | 100 | 3.7 | 38 | 5 | 1 & 2 & 3
B7-A-09 Circulation | B700009C | 100 | 10.5 | 102 | 8 | 1 & 2 & 3
B7-A-09-01 Bed | B700009D | 100 | 2.2 | 45 | 5 | 2 & 3
B7-A-09-01 Kitchen | B700009F | 100 | 3.3 | 32 | 6 | 1 & 2 & 3
B7-A-09-01 Bed | B70000A2 | 100 | 2.3 | 46 | 5 | 2 & 3
B7-A-09-01 Living | B70000A3 | 100 | 3.4 | 38 | 5 | 1 & 2 & 3
B7-A-09-01 Bed | B70000A4 | 100 | 2.2 | 46 | 5 | 2 & 3
B7-A-09-02 Bed | B70000A6 | 100 | 3.1 | 57 | 6 | 1 & 2 & 3
B7-A-09-02 Bed | B70000A7 | 100 | 2.6 | 51 | 5 | 2 & 3
B7-A-09-02 Living/Kitchen | B70000A8 | 100 | 3.8 | 39 | 5 | 1 & 2 & 3
B7-A-10 Circulation | B70000AA | 100 | 10.5 | 102 | 8 | 1 & 2 & 3
B7-A-10-01 Bed | B70000AB | 100 | 2.2 | 45 | 5 | 2 & 3
B7-A-10-01 Kitchen | B70000AD | 100 | 3.3 | 32 | 6 | 1 & 2 & 3
B7-A-10-01 Bed | B70000B0 | 100 | 2.3 | 46 | 5 | 2 & 3
B7-A-10-01 Living | B70000B1 | 100 | 3.4 | 38 | 5 | 1 & 2 & 3
B7-A-10-01 Bed | B70000B2 | 100 | 2.2 | 46 | 5 | 2 & 3
B7-A-10-02 Bed | B70000B4 | 100 | 3.1 | 57 | 6 | 1 & 2 & 3
B7-A-10-02 Bed | B70000B5 | 100 | 2.6 | 51 | 5 | 2 & 3
B7-A-10-02 Living/Kitchen | B70000B6 | 100 | 3.8 | 39 | 5 | 1 & 2 & 3
B7-A-11 Circulation | B70000B8 | 100 | 10.6 | 102 | 8 | 1 & 2 & 3
B7-A-11-01 Bed | B70000B9 | 100 | 2.2 | 45 | 5 | 2 & 3
B7-A-11-01 Kitchen | B70000BB | 100 | 3.2 | 32 | 6 | 1 & 2 & 3
B7-A-11-01 Bed | B70000BE | 100 | 2.3 | 46 | 5 | 2 & 3
B7-A-11-01 Living | B70000BF | 100 | 3.4 | 38 | 5 | 1 & 2 & 3
B7-A-11-01 Bed | B70000C0 | 100 | 2.2 | 46 | 5 | 2 & 3
B7-A-11-02 Bed | B70000C2 | 100 | 3.1 | 57 | 6 | 1 & 2 & 3
B7-A-11-02 Bed | B70000C3 | 100 | 2.6 | 49 | 5 | 2 & 3
B7-A-11-02 Living/Kitchen | B70000C4 | 100 | 3.8 | 39 | 5 | 1 & 2 & 3
B7-A-12 Circulation | B70000C6 | 100 | 11.3 | 106 | 8 | 1 & 2 & 3
B7-A-12-01 Bed | B70000C7 | 100 | 2.3 | 45 | 5 | 2 & 3
B7-A-12-01 Kitchen | B70000C9 | 100 | 3.2 | 32 | 6 | 1 & 2 & 3
B7-A-12-01 Bed | B70000CC | 100 | 2.3 | 46 | 5 | 2 & 3
B7-A-12-01 Living | B70000CD | 100 | 3.6 | 39 | 5 | 1 & 2 & 3
B7-A-12-01 Bed | B70000CE | 100 | 2.2 | 46 | 5 | 2 & 3
B7-A-12-02 Bed | B70000D0 | 100 | 3.3 | 60 | 6 | 1 & 2 & 3
B7-A-12-02 Bed | B70000D1 | 100 | 2.5 | 48 | 5 | 2 & 3
B7-A-12-02 Living/Kitchen | B70000D2 | 100 | 3.2 | 37 | 5 | 1 & 2 & 3
B7-A-13 Circulation | B70000D4 | 100 | 14.3 | 119 | 8 | 1 & 2 & 3
B7-A-13-01 Bed | B70000D5 | 100 | 2.4 | 48 | 5 | 2 & 3
B7-A-13-01 Kitchen | B70000D7 | 100 | 3 | 30 | 5 | 2 & 3
B7-A-13-01 Bed | B70000DA | 100 | 2.2 | 45 | 5 | 2 & 3
B7-A-13-01 Living | B70000DB | 100 | 4 | 42 | 5 | 1 & 2 & 3
B7-A-13-01 Bed | B70000DC | 100 | 2.2 | 44 | 5 | 2 & 3
B7-A-01 Circulation | B70000DD | 100 | 10.2 | 94 | 7 | 1 & 2 & 3
B7-A-01-02 Bed | B70000E6 | 100 | 5.1 | 63 | 5 | 1 & 2 & 3
B7-A-01-03 Bed | B70000E9 | 100 | 3.1 | 51 | 5 | 1 & 2 & 3
B7-A-01-04 Bed | B70000EE | 100 | 2.3 | 43 | 5 | 2 & 3
B7-A-01-H1 Bed | B70000F2 | 100 | 2.5 | 46 | 5 | 2 & 3
B7-A-01-H1 Study/Bed | B70000F5 | 100 | 2.8 | 48 | 5 | 2 & 3
B7-A-01-H2 Bed | B70000F7 | 100 | 2.7 | 51 | 6 | 2 & 3
B7-A-01-H2 Study/Bed | B70000FA | 100 | 3 | 55 | 6 | 2 & 3
B7-A-01-H3 Study/Bed | B70000FC | 100 | 3 | 55 | 6 | 2 & 3
B7-A-01-H3 Bed | B70000FF | 100 | 3.1 | 57 | 6 | 1 & 2 & 3
B7-A-01-H4 Bed | B7000101 | 100 | 2.6 | 52 | 6 | 2 & 3
B7-A-01-H4 Study/Bed | B7000102 | 100 | 2.9 | 54 | 6 | 2 & 3
B7-A-00 Circulation | B7000104 | 100 | 10.4 | 88 | 7 | 1 & 2 & 3
B7-A-00 Circulation | B7000105 | 100 | 9.5 | 83 | 6 | 1 & 2 & 3
B7-A-00-01 Lobby | B7000107 | 100 | 9.1 | 81 | 7 | 1 & 2 & 3
B7-A-00-01 Bed | B7000109 | 100 | 3.3 | 54 | 6 | 1 & 2 & 3
B7-A-00-H1 Bed | B700010F | 100 | 2.8 | 50 | 5 | 2 & 3
B7-A-00-H2 Bed | B7000112 | 100 | 2.7 | 48 | 5 | 2 & 3
B7-A-00-H2 Bed | B7000114 | 100 | 3.1 | 54 | 6 | 1 & 2 & 3
B7-A-00-H3 Bed | B7000116 | 100 | 3.3 | 58 | 6 | 1 & 2 & 3
B7-A-00-H3 Bed | B7000117 | 100 | 3.3 | 57 | 6 | 1 & 2 & 3
B7-A-00-H4 Bed | B700011C | 100 | 2.7 | 48 | 5 | 2 & 3
B7-A-00-H4 Bed | B700011D | 100 | 3.1 | 53 | 6 | 1 & 2 & 3
B7-A-02-H1 Living | B7000001 | 100 | 3.3 | 38 | 5 | 1 & 2 & 3
B7-A-02-H1 Kitchen | B700011E | 100 | 3.1 | 38 | 5 | 1 & 2 & 3
B7-A-02-H2 Living | B7000002 | 100 | 3.9 | 40 | 5 | 1 & 2 & 3
B7-A-02-H2 Kitchen | B7000120 | 100 | 3.6 | 40 | 5 | 1 & 2 & 3
Unoccupied: | 37 rooms:
Room Name | Room ID | Occupied days (%) | Criteria 1 (%Hrs Top-Tmax>=1K) | Criteria 2 (Max. Daily Deg.Hrs) | Criteria 3 (Max. DeltaT) | Criteria failing
Lift/Riser | LF000009 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000A | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000B | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000C | 0 | 0 | 0 | 0 | -
B7-A-02-01 | B7000009 | 0 | 0 | 0 | 0 | -
B7-A-02-02 Cupd | B700000E | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000D | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000E | 0 | 0 | 0 | 0 | -
B7-A-04-01 Cupd | B7000053 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00000F | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000010 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000011 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000012 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000013 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000014 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000015 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000016 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000017 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000018 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000019 | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001A | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001B | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001C | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001D | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001E | 0 | 0 | 0 | 0 | -
Lift/Riser | LF00001F | 0 | 0 | 0 | 0 | -
Lift/Riser | LF000020 | 0 | 0 | 0 | 0 | -
Riser/Lifts | RS0000B1 | 0 | 0 | 0 | 0 | -
Riser/Lifts | RS0000B2 | 0 | 0 | 0 | 0 | -
B7-A-01 Void | B70000DE | 0 | 0 | 0 | 0 | -
B7-A-01-H1 Cupd | B70000F6 | 0 | 0 | 0 | 0 | -
B7-A-01-H2 Cupd | B70000FB | 0 | 0 | 0 | 0 | -
Riser/Lifts | RS0000B3 | 0 | 0 | 0 | 0 | -
Riser/Lifts | RS0000B4 | 0 | 0 | 0 | 0 | -
B7-A-00 Bins/Bikes | B7000106 | 0 | 0 | 0 | 0 | -
NR Access Zone | NR000000 | 0 | 0 | 0 | 0 | -
B7-A-00 Bike Store | B7000108 | 0 | 0 | 0 | 0 | -

## BEDROOM DSY3
Weather file: | London_LWC_DSY3_2020High50.epw
1. In addition, the bedrooms must also not have >1% of occupied hours where internal temp>26degC (between the hours of 10pm-7am)
>33 HOURS IS A FAIL
BEDROOM IS FAILING
Air temperature (°C) - hours in range
Location | > 26.00 | PASS/FAIL
B7-A-05-02 Bed | 92 | FAIL